|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Ražotājs** | **Paziņotā institūcija (*Notified body*)** | **Sertifikāts Nr.** | **Medicīniskās ierīces, kas norādītas sertifikātā** | **Neatbilstība** |
| **ANIKA THERAPEUTCS SRL (Itālija)** | LNE  (0459) | 9512 rev. 13 | *Advanced wound care devices (epidermal substitute) for moderately exuding wounds- Superficial surgical wounds- 1st degree and superficiel 2nd degree bums.* | **Atsaukts no 2021.gada 17.marta** |
| **LABORATOIRE SYLAMED (Francija)** | LNE  (0459) | 28627 rev. 3 | *Sterile dressing kits - Sterile infusion kits - Infusion kit rinsing or heparinization -Basic kit for chronic wound - Debridement kit for chronic wound.*  *Device: Sterile infusion kits - Infusion kit rinsing or heparinization.* | **Atsaukts no 2021.gada 25.janvāra.** |
| **FOURES S.A (Francija)** | LNE  (0459) | 14016 rev. 5 | *Manifold blocks and accessories* | **Atsaukts no 2021.gada 1.marta.** |
| **FOURES S.A (Francija)** | LNE  (0459) | 14018 rev. 6 | *Gas mixers and accessories* | **Atsaukts no 2021.gada 1.marta.** |
| **FOURES S.A (Francija)** | LNE  (0459) | 14019 rev. 5 | *Gas specific connector* | **Atsaukts no 2021.gada 1.marta.** |
| **FOURES S.A (Francija)** | LNE  (0459) | 15259 rev. 4 | *Ceiling pendant* | **Atsaukts no 2021.gada 1.marta.** |
| **FOURES S.A (Francija)** | LNE  (0459) | 17974 rev. 5 | *Valves boxes and reducers boxes Technical panels* | **Atsaukts no 2021.gada 1.marta.** |
| **FOURES S.A (Francija)** | LNE  (0459) | 22454 rev. 3 | *Gas flow meters* | **Atsaukts no 2021.gada 1.marta.** |
| **FOURES S.A (Francija)** | LNE  (0459) | 32400 rev. 1 | *Anaesthetic gas scavenging systems* | **Atsaukts no 2021.gada 1.marta.** |
| **SCIENCE ET MEDECINE (SEM) (Francija)** | LNE  (0459) | 20091 rev.10 | *Hip orthopaedic implants.*  *Device: XO modular neck femoral stem* | **Atsaukts no 2021.gada 19.februāra.** |
| **SURGISIL LLP (ASV)** | LNE  (0459) | 22701 rev. 2 | *Sterile silicone lip implants* | **Atsaukts no 2021.gada 26.februāra.** |
| **GIFRER BARBEZAT (Francija)** | LNE  (0459) | 35967 rev.4 | *Drying solution of aqueous eosin 2% for cutaneous application,Hypertonic seawater solution with propellant gas for nasal wash,Isotonic seawater solution with propellant gas for nasal wash*  *Device :* EOSINE GIFER - France REF60000623 ; EOSINE 2% - QUALIPHA BELGIUM , REF60000136 | **Atsaukts no 2021.gada 9.marta.** |
| **XODUS MEDICAL INC (ASV)** | LNE  (0459) | 32563 rev. 2 | *Light handles covers, transfer zones, needle counters, safety stops, syringes transfer cups, scalpel holders, skin markers and shoulder suspension kit*  *Device : Cautery tip cleaner* | **Atsaukts no 2021.gada 24.februāra.** |
| **MEDOVEX CORPORATION (ASV)** | LNE  (0459) | 33041 rev. 2 | *Radiofrequency Ablation devices*  *Device : MDVX-DenerveX-1 (DenerveX rotational Ablation device kit)* | **Atsaukts no 2021.gada 18.marta.** |
| **SERF (Francija)** | LNE  (0459) | 20851 rev. 4 | *Hip osteoarticular prostheses*  *Device : HYPE cup* | **Atsaukts no 2021.gada 18.marta.** |
| **ANIKA THERAPEUTCS SRL (Itālija)** | LNE  (0459) | 9508 rev. 10 | *Support for epidermal cells culture*  *Device: LASERSKIN® CODE GMDN 33525* | **Atsaukts no 2021.gada 17.marta.** |
| **ANIKA THERAPEUTCS SRL (Itālija)** | LNE  (0459) | 9511 rev.10 | *Bioresorbable surgical mesh*  *Device : HYALONECT® GMDN 44688* | **Atsaukts no 2021.gada 17.marta.** |
| **DIABOR, S.L (Spānija)** | Agencia Española de Medicamentos y Productos Sanitarios  (0318) | 98 12 0190 CD | *Dental Devices, Diabor Diamond Dentals Burs* | **Atsaukts no 2021.gada 10.maija.** |
| **IBERHOSPITEX, S.A. (Spānija)** | Agencia Española de Medicamentos y Productos Sanitarios  (0318) | 98 05 0091 CP | *Device: White liners without filter 2000 ml, liners with filter 2000 ml, 3-Way stopcock, 3-Way stopcock with extension tube / 10 cm, 25 cm and 50 cm* | **Atsaukts no 2021.gada 26.aprīļa.** |
| **IBERHOSPITEX, S.A. (Spānija)** | Agencia Española de Medicamentos y Productos Sanitarios  (0318) | 98 05 0092 CP | *Device: Sterile SMMS polypropylene reinforced surgical gown (size M, L and XL), Sterile SMMS non reinforced polypropylene surgical gown ((size M, L and XL)* | **Atsaukts no 2021.gada 16.aprīļa.** |
| **Lentimop S.L. (Spānija)** | Agencia Española de Medicamentos y Productos Sanitarios  (0318) | 98 06 0122 CT | *Ophtalmic and optical devices, Contact lenses care products – Solutions – Desinfecting solutions and neutrilazing tablets* | **Atsaukts no 2021.gada 9.jūnija.** |
| **ITALFARMACO, S.A. (Spānija)** | Agencia Española de Medicamentos y Productos Sanitarios  (0318) | 2012 06 0785 CP | *Device: Vaginal lubricant gel 30g tube* | **Atsaukts no 2021.gada 20.aprīļa.** |
| |  | | --- | | **LadyBalance ApS (Dānija)** | | |  | | --- | | Presafe Denmark A/S  (NB 0543) | | |  | | --- | | DGM-694 | | |  |  | | --- | --- | | *Manufacture and final inspection of vaginal lactose tablets in class lla*  *Device: LadyBalance vaginal lactose tablets*   |  | | --- | |  | | | **Atsaukts no 2021.gada 12.marta.** |
| **GLOBAL D (Francija)** | LNE  (NB 0459) | 23863 rev. 23 | *Plates, titanium mesh and screws for cranio maxilIo facial surgery. Screws for pre-implant surgery. Plates and screws for orthodontie anchoring. Dental implants.Prosthetic systems. Dental and cranio maxilIo facial instrumentation*  *Device: TITANIUM MESH FOR CRANIO MAXILLO FACIALSURGERY MINITEK / MICROTEK* | **Atsaukts no 2021.gada 9.marta.** |
| **HEXACATH (Francija)** | LNE  (NB 0459) | 22010 rev.6 | *Aspiration catheter*  *Device: RECOVER CODE GMDN 58173* | **Atsaukts no 2021.gada 1.aprīļa.** |
| **PHARMAPLAST SAE (Ēģipte)** | LNE  (NB 0459) | 27236 rev. 18 | *Sterile and Non sterile Wound and Burn Dressings*  *Device: Rite Aid Hydrogel Breast Discs* | **Apturēts no 2021.gada 30.marta.** |
| **RIVERPOINT MEDICAL LLC (ASV)** | LNE  (NB 0459) | 24789 rev. 8 | Absorbable and non-Absorbable sutures  Device: Vilet Quick (PGLA), Vilet II Quick (PGA Quick), RiverSilk (Silk) | **Atsaukts no 2021.gada 1.aprīļa.** |
| **RIVERPOINT MEDICAL LLC (ASV)** | LNE  (NB 0459) | 24790 rev. 10 | Absorbable and non-Absorbable sutures  Device: Vilet Quick (PGLA), Vilet II Quick (PGA Quick), RiverSilk (Silk) | **Atsaukts no 2021.gada 1.aprīļa.** |
| **BIO RAD (Francija)** | LNE  (NB 0459) | 31193 rev. 0 | ln vitro diagnostic devices for the detection of human infections : cytomegalovlrus  Device: MONOFLUO™ Kit CMV – Réf. 52206 code GMDN 49707 | **Atsaukts no 2021.gada 19.aprīļa.** |
|  |  |  |  |  |
| **LABORATOIRE TETRA MEDICAL (Francija)** | LNE  (NB 0459) | 35061 rev. 2 | *Sterile single use Medical Devices: Sterile Swabs and Balls; Sterile caftons; Sterile Absorbent Dressings and dressing articles; Sterile operating drapes; Sterile metallic and plastic instruments for care and surgery applications; Sterile adhesives; Sterile collection devices; Sterile dressing*  *Device: Sterile adhesives* | **Atsaukts no 2021.gada 5.maija.** |
| **PRODUITS DENTAIRES PIERRE ROLLAND SAS (Francija)** | LNE  (NB 0459) | 34792 rev.1 | *Sterile dental needles* | **Atsaukts no 2021.gada 4.maija.** |
| **SOCIETE ETCCS (Francija)** | LNE  (NB 0459) | 27518 rev. 11 | *Critical care management solutions: Intensive care units software.Software solutions dedicated to postoperative monitoring of vital physiological parameters* | **Atsaukts no 2021.gada 3.maija.** |
| **MAXTER CATHETERS (Francija)** | LNE  (NB 0459) | 9891 rev. 7 | *Nasogastric and gastrostomy enterai feeding tubes, stoma seals, extension sets, syringes and accessories*  *Device: ENTRAL™, ENTRAL ™ VAC and SUPERLOCK™ ranges* | **Atsaukts no 2021.gada 10.maija.** |
| **VYGON (Francija)** | LNE  (NB 0459) | 34260 rev.1 | *lmplantable vascular access system and accessories*  *Device:* HELIOSITE | **Atsaukts no 2021.gada 11.maija.** |
| **HEMODIA SAS (Francija)** | LNE  (NB 0459) | 31618 rev. 8 | *Arthroscopy pumps - Arthroscopy tubings and arthroscopy tubes accessories* | **Atsaukts no 2021.gada 3.maija.** |
| **WEBSINGER GmbH (Austrija)** | LNE  (NB 0459) | 33707 rev.1 | *Covers for devices* | **Apturēts no 2021.gada 1.aprīļa.** |
| **WEBSINGER GmbH (Austrija)** | LNE  (NB 0459) | 9349 rev. 6 | *Bags for transportation of organs* | **Apturēts no 2021.gada 1.aprīļa.** |
| **WEBSINGER GmbH (Austrija)** | LNE  (NB 0459) | 9348 rev. 8 | *Surgical drainage tubes, containers and loops* | **Apturēts no 2021.gada 1.aprīļa.** |
| **WEBSINGER GmbH (Austrija)** | LNE  (NB 0459) | 26351 rev. 4 | *lntranasa/ splints / Supports intranasaux* | **Apturēts no 2021.gada 1.aprīļa.** |
| **LABORATOIRE AGUETTANT (Francija)** | LNE  (NB 0459) | 29529 rev. 5 | *Sterile solutions for bladder irrigation in patients with total cystectomy and continent urinary diversion*  *Device: VERISIG - 600605 et VERISIG – 600604* | **Apturēts no 2021.gada 23.aprīļa.** |
| **LABORATOIRE AGUETTANT (Francija)** | LNE  (NB 0459) | 37501 rev. 0 *related to securing and maintaining sterile conditions* | *Sterile solutions for bladder irrigation in patients with total cystectomy and continent urinary diversion*  *Device: VERISIG - 600605 et VERISIG – 600604* | **Apturēts no 2021.gada 23.aprīļa.** |
| **PELSTAR LLC (ASV)** | LNE  (NB 0459) | 20093 rev. 9 | *Patient weighing scales that could include height measuring rod* | **Atsaukts no 2021.gada 9.maija.** |
| **ETMI (Francija)** | LNE  (NB 0459) | 27533 rev. 10 | *Medical Imaging software : PACS, workstation viewer, reading stations and medical imaging advance processing* | **Atsaukts no 2021.gada 3.maija.** |
| **PETERS SURGICAL (Francija)** | LNE  (NB 0459) | 9818 rev.15 | *Non absorbable surgical sutures and ligatures and pledgets*  *Device: CARDIOFLON EVOLUTION - COROLENE - CORONYL - PREMIO - CARDIONYL POLYTRESSE - CARDIOXYL - Pledgets* | **Atsaukts no 2021.gada 4.maija.** |
| **OCEAN TERRE TECHNOLOGIES (Francija)** | LNE  (NB 0459) | 28286 rev. 5 | *Sterile physiological in vials for nasal and ocular cleaning and sterile sea water solutions in vials for nasal cleaning* | **Atsaukts no 2021.gada 19.aprīļa.** |
| **OCEAN TERRE TECHNOLOGIES (Francija)** | LNE  (NB 0459) | 32521 rev. 2 | *Isotonic sea water in spray* | **Atsaukts no 2021.gada 19.aprīļa.** |
| **OCEAN TERRE TECHNOLOGIES (Francija)** | LNE  (NB 0459) | 35555 rev. 0 | *Flexible and no flexible digital thermometer* | **Atsaukts no 2021.gada 19.aprīļa.** |
| **LABORATOIRE DE DIFFUSION DE PRODUITS DE SANTE APPLIQUEE (Francija)** | LNE  (NB 0459) | 31141 rev. 4 | *Oleocalcareous liniment* | **Atsaukts no 2021.gada 21.aprīļa.** |
| **ANIKA THERAPEUTCS SRL (Itālija)** | LNE  (NB 0459) | 9509 rev. 12 | *Advanced wound care device (absorbent skin matrix) for acute and chronic exuding wounds such as:venous leg ulcers, donor skin graft sites, pressure ulcers (stage II-IV), surgical wounds, traumatic*  *Device: HYALOFILL® - F* | **Atsaukts no 2021.gada 20.aprīļa.** |
| **ANIKA THERAPEUTCS SRL (Itālija)** | LNE  (NB 0459) | 9510 rev.12 | *Advanced wound care device for deep exuding wounds, sinuses and fistulae*  *Device: HYALOFILL® - F* | **Atsaukts no 2021.gada 20.aprīļa.** |
| **ANIKA THERAPEUTCS SRL (Itālija)** | LNE  (NB 0459) | 10504 rev. 11 | *Advanced wound care device (autolytic debridement) made of absorbent microgranules for deep discharging cavities*  *Device: HYALOGRAN®* | **Atsaukts no 2021.gada 20.aprīļa.** |
| **DIXI MEDICAL (Francija)** | LNE  (NB 0459) | 34804 rev. 1 | *Sterile set of 10 connection holders* | **Atsaukts no 2021.gada 19.aprīļa.** |
| **ENDOLOGIX LLC (ASV)** | LNE  (NB 0459) | 36708 rev. 1 | *Abdominal aortic aneurysm devices and accessories (Nellix System)* | **Atsaukts no 2021.gada 6.aprīļa.** |
| **ENDOLOGIX LLC (ASV)** | LNE  (NB 0459) | 36733 rev. 1 | *Abdominal aortic aneurysm devices*  *Device: Nellix Endovascular Sealing System GMDN Code: [17461]* | **Atsaukts no 2021.gada 6.aprīļa.** |
| **LABORATOIRES CONTAPHARM (Francija)** | LNE  (NB 0459) | 32923 rev 2 | *Hydrating and lubrifying ocular solution*  *Device: REGARD LAGON II Flacon 8 ml REF 109* | **Atsaukts no 2021.gada 30.marta.** |
| **OCEAN TERRE TECHNOLOGIES (Francija)** | LNE  (NB 0459) | 28284 rev. 3 | *Isotonic sea water in spray* | **Atsaukts no 2021.gada 19.aprīļa.** |
|  |  |  |  |  |
| **Plant of Hearing Aids “RITM” Ltd. (Krievija)** | 3EC International a.s.  (NB 2265) | 2020-MDD/QS-020 | *HEARING AID*  *Device: “RITM” BEHIND-THE-EAR HEARING AID Type 1: BTE ELECTRONIC HEARING AID Type 2: BTE PROGRAMMABLE HEARING AID Type 3: BTE TRIMMER HEARING AID* | **Atsaukts no 2021.gada 5.aprīļa.** |
| **DUKWOO MEDICAL Co., Ltd. (Koreja)** | 3EC International a.s.  (NB 2265) | 2020-MDD/QS-021 | *General-purpose catheter, Sterile Intravascular Catheter*  *Device: General purpose catheter (Model: 3S-G.P. Cath Series); Sterile Intravascular catheter (Model: 3S-CATH+ Series)* | **Atsaukts no 2021.gada 18.aprīļa.** |
| **CIMPAX ApS. (Dānija)** | 3EC International a.s.  (NB 2265) | 2020-MDD/QS-120 | *Electrosurgical Diathermy Pencils, Surgical Smoke Evacuation & Accessories for Electrosurgical Diathermy Pencils*  *Device: Models: CIMPAX ® C-VAC TORNADO CIMPAX ® Electrodes* | **Atsaukts no 2021.gada 18.aprīļa.** |
| **Assure Tech. (Hangzhou) Co., Ltd. (Ķīna)** | 3EC International a.s.  (NB 2265) | 2020-IVD/QS-003 | *Chlamydia Rapid Test Device (Swab/Urine), Prostate Specific Antigen Rapid Test Device (Whole Blood/Plasma/Serum)*  *Device: CHL-S23, PSA-W23; Brand Name: Ecotest®* | **Atsaukts no 2021.gada 22.aprīļa.** |
| **Chetan Meditech Pvt. Ltd. (Indija)** | 3EC International a.s.  (NB 2265) | 2019-MDD/QS-067 | *Orthopaedic Implants, Arthroscopy Implants, Prosthesis*  *Device: Orthopaedic Implants, Arthroscopy Implants, Prosthesis, Brand Name:Biotek* | **Atsaukts no 2021.gada 25.aprīļa.** |
| **REMED Co., Ltd. (Koreja)** | 3EC International a.s.  (NB 2265) | 2020-MDD/QS-097 | *Extracorporeal shock wave therapy*  *Device: Extracorporeal shock wave therapy (Model: SALUS-FSWT, SALUS-ESWT-EXPERT)* | **Atsaukts no 2021.gada 4.aprīļa.** |
| **Samyang Biopharmaceuticals Corporation (Koreja)** | 3EC International a.s.  (NB 2265) | 2020-MDD/DE-053 | *Absorbable Endoscopic Loop*  *Device: Absorbable Endoscopic Loop*  *Brand Name: Monosorb® Loop (PDO Monofilament Absorbable Loop)* | **Atsaukts no 2021.gada 16.maija.** |
| **Samyang Biopharmaceuticals Corporation (Koreja)** | 3EC International a.s.  (NB 2265) | 2020-MDD/QS-054 ;  2020-MDD/DE-055 | *Absorbable Hemostat*  *Brand Name: SurgiGuard®* | **Atsaukts no 2021.gada 16.maija.** |
| **Elixir Medical Corporation (ASV)** | 3EC International a.s.  (NB 2265) | 2020-MDD/QS-086 | *Drug Eluting Coronary Bioadaptor System*  *Device: Trade Name: DynamX™ Sirolimus Eluting Coronary Bioadaptor System* | **Atsaukts no 2021.gada 16.maija.** |
| **Elixir Medical Corporation (ASV)** | 3EC International a.s.  (NB 2265) | 2020-MDD/DE-087 | *Drug Eluting Coronary Bioadaptor System*  *Device: Trade Name: DynamX™ Sirolimus Eluting Coronary Bioadaptor System* | **Atsaukts no 2021.gada 16.maija.** |
| **IMGSA GROUPE INDUSTRIE PHARMACEUTIQUE (Alžīrija)** | 3EC International a.s.  (NB 2265) | 2020-MDD/QS-073 | *PREPOWDERED SURGICAL LATEX GLOVES*  *Device: Surgical Gloves Sizes: 6.5, 7, 7.5, 8* | **Atsaukts no 2021.gada 18.maija.** |
| **NEXTBIOMEDICAL CO., LTD. (Koreja)** | 3EC International a.s.  (NB 2265) | 2018-MDD/QS-037 ;  2018-MDD/DE-038 | *Embolization implant inserter, intervascular*  *Device: NexsphereTM, Model: UIGB020, UIGB100, UIGB300, UIGB500, UIGB700, UIGB020A, UIGB100A, UIGB020B, UIGB100B* | **Atsaukts no 2021.gada 19.maija.** |
| **DEYMED Diagnostic s.r.o. (Čehija)** | 3EC International a.s.  (NB 2265) | 2018-MDD/QS-028 | *Magnetic stimulator*  *Device: Magnetic stimulator DuoMAG Type: MP and XT-10/XT-35/XT-100* | **Atsaukts no 2021.gada 19.maija.** |
| **Al Fateh Factory for Medical Supplies (Ēģipte)** | 3EC International a.s.  (NB 2265) | 2019-MDD/QS-090 | *Sterile Hypodermic Syringe for Single Use* | **Atsaukts no 2021.gada 20.maija.** |
| **CAREGEN Co., Ltd. (Koreja)** | 3EC International a.s.  (NB 2265) | 2019-MDD/QS-034 ;  2019-MDD/DE-035 | *Soft filler*  *Device: REVOFIL Aquashine, REVOFIL Aquashine Platinum REVOFIL AquashineBR, REVOFIL AquashineBR Platinum Aquashine BTXTM* | **Atsaukts no 2021.gada 20.maija.** |
| **Miracell Inc. (Koreja)** | 3EC International a.s.  (NB 2265) | 2020-MDD/QS-043 ;  2020-MDD/DE-044 | *Autologous Platelet Concentrate Procedure Pack*  *Device: BSC 30 / BSC 60 / BSC 120 / BSC+③ 30 / BSC+③ 60 / BSC+③ 120* | **Atsaukts no 2021.gada 23.maija.** |
| **Arrow for Medical Necessities (Ēģipte)** | 3EC International a.s.  (NB 2265) | 2019-MDD/QS-051 | *Sterile Hypodermic Syringe for Single Use*  *Device: Trade name: Arrow Syringe* | **Atsaukts no 2021.gada 23.maija.** |
| **Scitech Produtos Médicos SA (Brazīlija)** | 3EC International a.s.  (NB 2265) | 2019-MDD/QS-055/A | *Stents, Stent Delivery Systems*  *Device: Solaris Vascular Stent Graft* | **Atsaukts no 2021.gada 23.maija.** |
| **ACROSS Co., Ltd. (Koreja)** | 3EC International a.s.  (NB 2265) | 2020-MDD/QS-066 ;  2020-MDD/DE-067 | *Cross linked HA soft tissue filling gel VOLUS 10*  *Device: VOLUS 10, VOLUS, VOLUMADE, THE CHAEUM shape 10* | **Atsaukts no 2021.gada 24.maija.** |
| **Vasmed Technologies Ltd. FZC (Apvienotie Arābu Emirāti)** | 3EC International a.s.  (NB 2265) | 2019-MDD/QS-060 ;  2019-MDD/DE-061 | *Percutaneous Transluminal Coronary Angioplasty (PTCA) balloon catheter*  *Device: Brand Name: High Track* | **Atsaukts no 2021.gada 24.maija.** |
| **Vasmed Technologies Ltd. FZC (Apvienotie Arābu Emirāti)** | 3EC International a.s.  (NB 2265) | 2019-MDD/QS-064 ;  2019-MDD/DE-065 | *Rapid Exchange PTCA balloon catheter*  *Device: Rapid Exchange PTCA balloon catheter: Vas Track* | **Atsaukts no 2021.gada 24.maija.** |
| **Healthium Medtech Private Limited (Indija)** | 3EC International a.s.  (NB 2265) | 2017-MDD/QS-054/A | *Sterile Non-absorbable Surgical Suture, Sterile Non-absorbable Surgical Mesh*  *Device: Sterile Non-absorbable Surgical Suture Sterile, Brand Name: TRUSTEEL, Q-CLOSE STEEL, RITEMED STEEL; Non-absorbable Surgical Mesh, Brand Name: TRULENE MESH, Q-CLOSE MESH* | **Atsaukts no 2021.gada 24.maija.** |
| **Healthium Medtech Private Limited (Indija)** | 3EC International a.s.  (NB 2265) | 2017-MDD/QS-055/B ; 2017-MDD/DE-056/B | *Sterile Absorbable Surgical Suture Sterile Non-absorbable Surgical Suture Sterile Partially Absorbable Surgical Mesh*  *Device: Sterile Absorbable Surgical Suture with or without needle Sterile Non-absorbable Surgical Suture with or without needle Sterile Partially Absorbable Surgical Mesh (detail list of brand names in Annex to EC Certificate)* | **Atsaukts no 2021.gada 24.maija.** |
| **Healthium Medtech Private Limited (Indija)** | 3EC International a.s.  (NB 2265) | 2018-MDD/QS-037/A;  2018-MDD/DE-038/A | *Sterile Bone Wax*  *Brand name: TRUWAX, Q-Close Bone Wax, LINXWAX, BONEWAX BW25* | **Atsaukts no 2021.gada 24.maija.** |
| **Healthium Medtech Private Limited (Indija)** | 3EC International a.s.  (NB 2265) | 2018-MDD/QS-039/A ;  2018-MDD/DE-040/A | *Absorbable Hemostat*  *Brand Name: Clinicel, Q-Close Cel, Q-Close Stat, LINXCEL* | **Atsaukts no 2021.gada 24.maija.** |
| **Healthium Medtech Private Limited (Indija)** | 3EC International a.s.  (NB 2265) | 2018-MDD/QS-042/A | *Sterile Skin Stapler*  *Brand name: TruPler, Q Close Skin Stapler, Dermator, Trupler Neo, Trupler Eco, Surgipler, Healier, LINX Stapler* | **Atsaukts no 2021.gada 24.maija.** |
| **Karel Hrnčíř – BIOMAG (Čehija)** | 3EC International a.s.  (NB 2265) | 2020-MDD/QS-019/A | *Magnetic Therapy Device*  *Device: Biomag® Lumina, Biomag® Lumio, Biomag® LightFit, LightFit DUO, Biomag® Lumina 3D-e, Biomag® Lumio-e, Biomag® Lumio 3D-e* | **Atsaukts no 2021.gada 2.maija.** |
| **THOR Photomedicine Limited (Lielbritānija)** | 3EC International a.s.  (NB 2265) | 2020-MDD/QS-115 | *Photobiomodulation Therapy System*  *Device: LX2.3 Laser and LED Therapy System* | **Atsaukts no 2021.gada 2.maija.** |
| **PharmaResearch Products Co., Ltd. (Koreja)** | 3EC International a.s.  (NB 2265) | 2020-MDD/QS-070;  2020-MDD/DE-071 | *Injectable Dermal Filler*  *Device: REJURAN, REJURAN i, REJURAN s* | **Atsaukts no 2021.gada 3.maija.** |
| **MEDICAL IMPACT (Koreja)** | 3EC International a.s.  (NB 2265) | 2018-MDD/QS-005/A;  2018-MDD/DE-006/A | *EZ-Close (Port Site Closure System)*  *Model Names: EZ01 (Body and Needle), EZ02 (Cartridge with Absorbable Suture)* | **Atsaukts no 2021.gada 13.maija.** |
| **NEXTBIOMEDICAL CO., LTD. (Koreja)** | 3EC International a.s.  (NB 2265) | 2018-MDD/QS-032/B;  2018-MDD/DE-033/B | *Non-absorbable hemostatic powder*  *Device: Nexpowder, Model Names: UI-EWD1, UI-EWD2, UI-EWD3* | **Atsaukts no 2021.gada 14.maija.** |
| **NEXTBIOMEDICAL CO., LTD. (Koreja)** | 3EC International a.s.  (NB 2265) | 2018-MDD/DE-034/B | *Nexpowder Catheter* | **Atsaukts no 2021.gada 14.maija.** |
| **Samyang Biopharmaceuticals Corporation (Koreja)** | 3EC International a.s.  (NB 2265) | 2019-MDD/QS-037 | *Hemostatic Dressing & Interventional Hemostatic Pad*  *Brand Name: Q-Guard™* | **Atsaukts no 2021.gada 16.maija.** |
| **Samyang Biopharmaceuticals Corporation (Koreja)** | 3EC International a.s.  (NB 2265) | 2019-MDD/QS-038;  2019-MDD/DE-039 | *Absorbable Adhesion Barrier*  *Brand Name: InterGuard® Model: DMIG201, DMIG202, DMIG203* | **Atsaukts no 2021.gada 16.maija.** |
| **Samyang Biopharmaceuticals Corporation (Koreja)** | 3EC International a.s.  (NB 2265) | 2020-MDD/QS-050;  2020-MDD/DE-051 | *Absorbable Endoscopic Loop*  *Brand Name: Neosorb® Loop (PGLA 910 Multifilament Absorbable Loop)* | **Atsaukts no 2021.gada 16.maija.** |
| **Samyang Biopharmaceuticals Corporation (Koreja)** | 3EC International a.s.  (NB 2265) | 2020-MDD/QS-052 | *Absorbable Endoscopic Loop Brand Name: Monosorb® Loop (PDO Monofilament Absorbable Loop)* | **Atsaukts no 2021.gada 16.maija.** |
| **BIOMERIEUX (Francija)** | LNE  (NB 0459) | 9114 rev. 4 | *ln vitro diagnostic device for the detection of toxoplasmosis by agglutination and immunofluorescence techniques*  *Device: TOXO-SCREEN DA® - Réf. 75481 (GMDN 52439)* | **Atsaukts no 2021.gada 1.jūnija.** |
| **LINKAGE BIOSCIENCES INC (ASV)** | LNE  (NB 0459) | 29270 rev. 6 | *In Vitro diagnostic medical devices for the detection of human leucocyte antigens (HLA): DR, A and B* | **Atsaukts no 2021.gada 3.jūnija.** |
| **BIOKIT SA (Spānija)** | LNE  (NB 0459) | 21766 rev 2 | *Devices for the detection of HIV based on an automated enzyme immuno-assay relying on the chemiluminescent technology*  *Device: BIO-FLASH® anti-HIV 1+2 - Ref. 3000-8575*  *BIO-FLASH® anti-HIV 1+2 Calibrators - Ref. 3000-8576 BIO-FLASH® anti-HIV 1+2 Controls - Ref. 3000-8577* | **Atsaukts no 2021.gada 12.februāra.** |
| **BIOKIT SA (Spānija)** | LNE  (NB 0459) | 20186 rev 8 | *Devices for the detection of hepatitis C and HIV based on an automated enzyme immuno-assay relying on the chemiluminescent technology*  *Device: BIO-FLASH® anti-HIV 1+2 - Ref. 3000-8575*  *BIO-FLASH® anti-HIV 1+2 Calibrators - Ref. 3000-8576 BIO-FLASH® anti-HIV 1+2 Controls - Ref. 3000-8577* | **Atsaukts no 2021.gada 12.februāra.** |
| **FH INDUSTRIE (Francija)** | LNE  (NB 0459) | 31330 rev. 4 | *Orthopaedic implants for hip*  *Device : HIP'N GO VA SC femoral stems(GMDN P33581)* | **Atsaukts no 2021.gada 19.maija.** |
| **BIOMET France (Francija)** | LNE  (NB 0459) | 8165 rev. 10 | *Hip orthopaedic implants*  *Device: UP-TION® and UP-TION COMPLETE® femoral stems (GMDN 33581)* | **Atsaukts no 2021.gada 21.maija.** |
| **BIOMET France (Francija)** | LNE  (NB 0459) | 13362 rev. 6 | *Trapezial Metacarpal Prosthesis* | **Atsaukts no 2021.gada 21.maija.** |
| **ANIKA THERAPEUTCS SRL (Itālija)** | LNE  (NB 0459) | 8727 rev. 13 | *Wound dressing for deep-chronic wounds. Dermal substitute for tissue reconstruction*  *Device: HYALOMATRIX PA* | **Atsaukts no 2021.gada 17.maija.** |
| **ANIKA THERAPEUTCS SRL (Itālija)** | LNE  (NB 0459) | 9744 rev.13 | *Advanced wound care devices*  *Device: HYALOMATRIX PA* | **Atsaukts no 2021.gada 17.maija.** |
| **NATEC MEDICAL LTD (Maurīcija)** | LNE  (NB 0459) | 10356 rev. 12 | *Coronary angioplasty catheters*  *Device: TAMARIN Blue range* | **Atsaukts no 2021.gada 20.maija.** |
| **NATEC MEDICAL LTD (Maurīcija)** | LNE  (NB 0459) | 25450 rev. 4 | *Urology catheter* | **Atsaukts no 2021.gada 20.maija.** |
| **NATEC MEDICAL LTD (Maurīcija)** | LNE  (NB 0459) | 25451 rev. 5 | *Gastroenterology catheter* | **Atsaukts no 2021.gada 20.maija.** |
| **LABORATOIRE DE DIFFUSION DE PRODUITS DE SANTE APPLIQUEE (Francija)** | LNE  (NB 0459) | 32665 rev. 5 | *Single dose of sterile physiological salt solution 0.9% (NaCl 0,9 %) for nasal and ophthalmic hygiene, wound rinsing and aerosoltherapy* | **Atsaukts no 2021.gada 21.maija.** |
| **DIAGAST (Francija)** | LNE  (NB 0459) | 9235 rev. 5 | *Annex II List A: Blood grouping determination*  *HEMATEST A1, B - HEMATEST A1, A2, B, 0 (GMDN 30596)* | **Atsaukts no 2021.gada 12.jūlija.** |
| **DIAGAST (Francija)** | LNE  (NB 0459) | 10232 rev. 7 | *Annex II list A : Blood grouping determination : Rh/Kell system* | **Atsaukts no 2021.gada 13.jūlija.** |
| **LABORATOIRES EUROMEDIS (Francija)** | LNE  (NB 0459) | 34299 rev. 0; 34306 rev. 0 | Sterile gauze swabs with X-ray thread | **Atsaukts no 2021.gada 20.maija.** |
| **LABORATOIRES EUROMEDIS (Francija)** | LNE  (NB 0459) | 34300 rev. 0 | *Sterile medical devices for single use: Sterile hypodermic needles - Sterile intravenous needles - Sterile insulin syringes - Sterile disposable syringes - Sterile insulin needles - Sterile blood collecting needles* | **Atsaukts no 2021.gada 20.maija.** |
| **LABORATOIRES EUROMEDIS (Francija)** | LNE  (NB 0459) | 34302 rev. 0 | *Sterile surgical gloves* | **Atsaukts no 2021.gada 20.maija.** |
| **LABORATOIRES EUROMEDIS (Francija)** | LNE  (NB 0459) | 34304 rev. 0 | *Surgical disposable medical devices (sterile disposable scalpels in stainless steel, sterile safety scalpels in stainless steel, stitch cutters and sterile surgical blades in carbon steel* | **Atsaukts no 2021.gada 20.maija.** |
| **LABORATOIRES EUROMEDIS (Francija)** | LNE  (NB 0459) | 36192 rev. 0 | *Sterile dialysis set, sterile dressing set, sterile catheterization set - Suture removers sets* | **Atsaukts no 2021.gada 20.maija.** |
| **LABORATOIRES EUROMEDIS (Francija)** | LNE  (NB 0459) | 36195 rev. 1 | *Infusion dressing set* | **Atsaukts no 2021.gada 20.maija.** |
| **LABORATOIRES EUROMEDIS (Francija)** | LNE  (NB 0459) | 18181 rev. 4 | *Sterile examination gloves* | **Atsaukts no 2021.gada 20.maija.** |
| **LABORATOIRES EUROMEDIS (Francija)** | LNE  (NB 0459) | 18183 rev. 4 | *Surgical gowns - Sterile surgical drapes* | **Atsaukts no 2021.gada 20.maija.** |
| **LABORATOIRES EUROMEDIS (Francija)** | LNE  (NB 0459) | 18184 rev. 7 | *Sterile compresses (sterile gauze swabs, sterlle non woven swabs, sterile non-woven absorbent pads) -Sterile bandages - Sterile gauze ball - Sterile non woven ball - Wound dressing - Sterile forceps* | **Atsaukts no 2021.gada 20.maija.** |
| **LABORATOIRES EUROMEDIS (Francija)** | LNE  (NB 0459) | 19213 rev. 6 | *Sterile absorbent pad - Sterile bandages - Sterile adhesive surgical dressing - Sterile gauze swabs without X-ray thread - Sterile non-woven swabs without X-ray thread* | **Atsaukts no 2021.gada 20.maija.** |
| **LABORATOIRES EUROMEDIS (Francija)** | LNE  (NB 0459) | 24533 rev. 2 | *Sterile swabs (sterile X-Ray gauze swab, sterile lap sponges in gauze, sterile lap sponges in non woven* | **Atsaukts no 2021.gada 20.maija.** |
| **LABORATOIRES EUROMEDIS (Francija)** | LNE  (NB 0459) | 24534 rev. 4 | *Sterile gauze and non woven swabs* | **Atsaukts no 2021.gada 20.maija.** |
| **LABORATOIRES EUROMEDIS (Francija)** | LNE  (NB 0459) | 24535 rev. 4 | *Equipment cover (Tube cover and handed bag for intensifier)* | **Atsaukts no 2021.gada 20.maija.** |
| **LABORATOIRES EUROMEDIS (Francija)** | LNE  (NB 0459) | 28567 rev. 2 | *Urine bags for single use* | **Atsaukts no 2021.gada 20.maija.** |
| **LABORATOIRES EUROMEDIS (Francija)** | LNE  (NB 0459) | 30648 rev. 2 | *Gauze Swabs - Non Woven Swabs - ABD Pads* | **Atsaukts no 2021.gada 20.maija.** |
| **LABORATOIRES EUROMEDIS (Francija)** | LNE  (NB 0459) | 31794 rev. 2 | *Surgical Gowns - Surgical Drapes - Surgical kits (including packs for cardiology, orthopedic, gynecology, urology , angiography , ophthalmology, neurology, laparotomy, pediatric ENT, surgical operation of the head and neck)* | **Atsaukts no 2021.gada 20.maija.** |
| **LABORATOIRES EUROMEDIS (Francija)** | LNE  (NB 0459) | 31796 rev. 1 | *Sterile Vaginal Speculum for single use* | **Atsaukts no 2021.gada 20.maija.** |
| **LABORATOIRES EUROMEDIS (Francija)** | LNE  (NB 0459) | 32956 rev. 2 | *Infusion sets - Transfusion sets - Extension sets with or without stopcock* | **Atsaukts no 2021.gada 20.maija.** |
| **LABORATOIRES EUROMEDIS (Francija)** | LNE  (NB 0459) | 33789 rev. 3 | *Sterile X-ray detectable swabs* | **Atsaukts no 2021.gada 20.maija.** |
| **LABORATOIRES EUROMEDIS (Francija)** | LNE  (NB 0459) | 34295 rev. 0 | *Sterile surgical gloves* | **Atsaukts no 2021.gada 20.maija.** |
| **LABORATOIRES EUROMEDIS (Francija)** | LNE  (NB 0459) | 34296 rev. 1 | *Non rebreath mask - Steri/e nasal oxygen cannula - Sterile oxygen masks - Sterile tracheostomy mask - Sterile suction catheter* | **Atsaukts no 2021.gada 20.maija.** |
| **LABORATOIRES EUROMEDIS (Francija)** | LNE  (NB 0459) | 34298 rev. 0 | *Blood pressure monitors* | **Atsaukts no 2021.gada 20.maija.** |
| **STERIFIL SA (Maroka)** | LNE  (NB 0459) | 34611 rev. 2 | *Sterile surgical swabs* | **Atsaukts no 2021.gada 7.jūnija.** |
| **STERIFIL SA (Maroka)** | LNE  (NB 0459) | 34612 rev. 2 | *Ocular sterile swabs and sterile swabs* | **Atsaukts no 2021.gada 7.jūnija.** |
| **LAPE MEDICAL (Francija)** | LNE  (NB 0459) | 32780 rev. 4 | *Femoral orthopaedic implants* | **Atsaukts no 2021.gada 10.jūnija.** |
| **PEROUSE MEDICAL (Francija)** | LNE  (NB 0459) | 33227 rev. 4 | *Medical devices and accessories for injection, infusion, interventional imaging* | **Atsaukts no 2021.gada 10.jūnija.** |
| **DRIVE DEVILBLISS HEALTHCARE FRANCE (Francija)** | LNE  (NB 0459) | 7672 rev 6 | *Pressurizing cuffs* | **Atsaukts no 2021.gada 10.jūnija.** |
| **LABORATOIRE DE DIFFUSION DE PRODUITS DE SANTE APPLIQUEE (Francija)** | LNE  (NB 0459) | 13923 rev 5 | *Lubricating moisturizing gel of marine and vegetal origin* | **Atsaukts no 2021.gada 18.jūnija.** |
| **ANIKA THERAPEUTCS SRL (Itālija)** | LNE  (NB 0459) | 13536 rev. 16 | *Mechanical barrier for the prevention or minimization of post-surgical adhesions after surgery in the abdominal pelvic area* | **Atsaukts no 2021.gada 20.maija.** |
| **Williams Medical Supplies Ltd. (Lielbritānija)** | LNE  (NB 0459) | 35880 rev. 2 | *Sterile single use vaginal speculum, uterine sound, thread retriever and cervical dilators* | **Atsaukts no 2021.gada 19.maija.** |
| **ASPIDE MEDICAL (Francija)** | LNE  (NB 0459) | 8363 rev.14 | *Reinforcement and support implants, polymer or silicone based, for general, visceral and digestive, gynecological and urological surgeries* | **Atsaukts no 2021.gada 21.maija.** |
| **ELLIPSE (Francija)** | LNE  (NB 0459) | 32407 rev. 4 | *Effervescent denture cleansing tablet (antibacterial)* | **Atsaukts no 2021.gada 26.maija.** |
| **SYMATESE (Francija)** | LNE  (NB 0459) | 25881 rev. 6 | Bone substitute product  Device: COLLAPAT® II | **Atsaukts no 2021.gada 27.maija.** |
| **EDEN INNOVATIONS (Francija)** | LNE  (NB 0459) | 29076 rev. 1 | *Devices for monitoring defibrillators operations* | **Atsaukts no 2021.gada 24.marta.** |
| **DIXI MEDICAL (Francija)** | LNE  (NB 0459) | 34823 rev. 5 | *Accessories and instruments for neurosurgery* | **Atsaukts no 2021.gada 4.jūnija.** |
| **ANIKA THERAPEUTCS SRL (Itālija)** | LNE  (NB 0459) | 8287 rev.14 | *Mechanical barrier for the prevention or minimization of post-surgical adhesions after intra articular, tendon and/or peripheral nerve surgery*  *Device:* HYALOGLIDE - HYALOGLIDE MINI | **Atsaukts no 2021.gada 7.jūnija.** |
| **LABORATOIRES OSTEAL MEDICAL (CERAVER) (Francija)** | LNE  (NB 0459) | 31253 rev. 10 | *Hip prostheses*  *Device: OSTEAL femoral stem LARO 300 – réf. 10009* | **Apturēts no 2021.gada 30.jūnija.** |
| **T.A.G. Medical Products Corporation Ltd (Izraēla)** | LNE  (NB 0459) | 32655 rev 22 | *Orthopedic implants and Titanium Based Dental Endosseous implants.Disposable Surgical Instruments and Accessories*  *Device: RobiCone Implants, Versaloop Anchor* | **Apturēts no 2021.gada 12.jūlija.** |
| **OCON MEDICAL LTD (Izraēla)** | LNE  (NB 0459) | 33351 rev 7 | *Intrauterine devices*  *Device: IUB Ballerine® GMDN code : 46920)* | **Apturēts no 2021.gada 16.jūlija.** |
| **GE HEALTHCARE GmbH (Vācija)** | LNE  (NB 0459) | 35692 rev. 3 | *Mammography diagnostic workstation*  *Device: SENOIRIS 1* | **Atsaukts no 2021.gada 24.jūnija.** |
| **DIAGAST (Francija)** | LNE  (NB 0459) | 9235 rev 5 | *Annex II List A : Blood grouping determination*  *Device: HEMATEST A1, B - HEMATEST A1, A2, B, 0 (GMDN 30596)* | **Atsaukts no 2021.gada 12.jūlija.** |
| **DIAGAST (Francija)** | LNE  (NB 0459) | 10232 rev 7 | *Annex II list A : Blood grouping determination : Rh/Kell system* | **Atsaukts no 2021.gada 13.jūlija.** |
| **CREST MEDICAL LIMITED (Lielbritānija)** | LNE  (NB 0459) | 32622 rev 5 | *Ice packs, wound and eye-care solutions, wipes, blister plasters, and thermometers for use in active rehabilitation, emergency treatment, monitoring non-vital physiological parameters and wound care* | **Atsaukts no 2021.gada 20.maija** |
| **CREST MEDICAL LIMITED (Lielbritānija)** | LNE  (NB 0459) | 32623 rev 6 | *Dressings swabs, eye wash, plasters, skin closures, absorbent pads to be used in wound care, gynecology and obstetrics, and sterile maternity pads.* | **Atsaukts no 2021.gada 20.maija** |
| **EARLENS CORPORATION (ASV)** | LNE  (NB 0459) | 28822 rev 5 | *Hearing Aid Systems* | **Atsaukts no 2021.gada 15.jūlija** |
| **LA MAISON DENTAIRE (Lihtenšteina)** | LNE  (NB 0459) | 8815 rev 7 | *Dental retraction cord*  *Device: MEDI -KORD CODE GMDN 46423* | **Apturēts no 2021.gada 19.augusta** |
| **LABORATOIRES URGO (Francija)** | LNE  (NB 0459) | 33407 rev 4 | *Medical devices sofwares intended for the management of wounds*  *Device: HEALICO V 1.1* | **Atsaukts no 2021.gada 20.augusta** |
| **CREST MEDICAL LIMITED (Lielbritānija)** | LNE  (NB 0459) | 32624 rev 2 | *Non sterile HF antidote Gel for use in the emergency treatment of hydrofluoric acid burns* | **Atsaukts no 2021.gada 20.maija** |
| **ARTHESYS (Francija)** | LNE  (NB 0459) | 21779 rev 5 | *Accessories for endovascular procedures*  *Device: TORQUER OEM (en vrac) REF 17020002; TORQUER OEM STERILE REF 17020003* | **Atsaukts no 2021.gada 19.jūlija** |
| **PEROUSE MEDICAL (Francija)** | LNE  (NB 0459) | 34768 rev 2 | Systems of transfer and systems, equipments and accessories for injection, infusion, interventional imaging and interventional cardiology. Systems of transfer and systems, equipments and accessories for kyphoplasty  Device: Y CONNECTOR SQUYD (GMDN 36177) | **Atsaukts no 2021.gada 27.jūlija** |
| **BIO RAD (Francija)** | LNE  (NB 0459) | 18723 rev 4 | ln vitro diagnostic medical devices for the confirmation of markers of the hepatitis B  Device: *MONOLISA ™Ag HBs ULTRA Confirmatory - Code 72409 (GMDN 48319)* | **Atsaukts no 2021.gada 27.augusta** |
| **B-BRAUN MEDICAL (Francija)** | LNE  (NB 0459) | 10189 rev. 8 | Implantable vascular access systems and accessories  *Device: Venous implantable vascular access systems Celsite InterVentional with catheter Anthron* | **Atsaukts no 2021.gada 13.septembra** |
| **AIRSEP CORPORATION (ASV)** | LNE  (NB 0459) | 31277 rev. 3 | Oxygen Generators and their components for use in hospitals/healthcare institutions for applications including anesthesia, respiratory therapy and for supplying oxygen to Intensive Care Units- Withdrawal of anesthesia requests | **Atsaukts no 2021.gada 7.septembra** |
| **LABORATOIRE 7MED (Francija)** | LNE  (NB 0459) | 8477 rev 14 | Intra-uterine devices  *Device : UT 380* | **Apturēts no 2021.gada 6.septembra** |
| **LABORATOIRE 7MED (Francija)** | LNE  (NB 0459) | 10251 rev 11 | Intra-uterine devices  *Device : LOAD 375* | **Apturēts no 2021.gada 6.septembra** |
| **LABORATOIRE 7MED (Francija)** | LNE  (NB 0459) | 10387 rev 13 | Intra-uterine devices  *Device : TT 380* | **Apturēts no 2021.gada 6.septembra** |
| **WEBSINGER GmbH (Austrija)** | LNE  (NB 0459) | 9348 rev 9 | Surgical drainage tubes and loops | **Atsaukts no 2021.gada 20.augusta** |
| **WEBSINGER GmbH (Austrija)** | LNE  (NB 0459) | 26351 rev 4 | lntranasal splints | **Atsaukts no 2021.gada 20.augusta** |
| **WEBSINGER GmbH (Austrija)** | LNE  (NB 0459) | 38533 rev 0 | Containers | **Atsaukts no 2021.gada 24.augusta** |
| **SHIFT LABS INC (ASV)** | LNE  (NB 0459) | 32482 rev. 3 | Supplementary monitoring device system used to measure the flow of fluid for standard IV administration set | **Atsaukts no 2021.gada 10.septembra** |
| **ANIKA THERAPEUTICS SRL (ASV)** | LNE  (NB 0459) | 36826 rev. 1 | Sterile hyaluronic acid for surgical, orthopaedic ophthalmic application.Viscoelastic product for intradermal injection.  *Device: Ophtalmic medical devices : Sterile Cingal ®, Sterile Monovisc™ 4ml volume, Sterile Orthovisc™-T mini Sodium Hyaluronate – 15mg/ml, 1ml Volume, Orthovisc™-T Sodium Hyaluronate – 15mg/ml, 2ml Volume, Sterile Orthovisc™ mini Sodium Hyaluronate – 15mg/ml, 1ml Volume, Orthovisc™ Sodium Hyaluronate – 15mg/ml, 2ml Vo* | **Atsaukts no 2021.gada 16.septembra** |
| **WILLIAMS MEDICAL SUPPLIES LTD (Lielbritānija)** | LNE  (NB 0459) | 35879 rev. 2 | Non-active, non-sterile single use and reusable autoclavable resuscitation devices  *Device: D44574, W4440/1, W4441/1, W4441/2, W4443/1, W4446/1, W4446/2, W4452/4, W4452/5, W44525, W4453, W4453/1, W4454/2, W4454/3, W4454, W4455, W4456, W4456/0, W4456/1, W44574, W4460, W4464, W4472, W4473, W4475,W4477, W4545* | **Atsaukts no 2021.gada 14.septembra** |
| **BIOKIT SA (Spānija)** | LNE  (NB 0459) | 12651 rev 5 | ELISA Tests for the detection of hepatitis B  *Device : 3000-1158 bioelisa HBsAg 3.0 - 96 tests, 3000-1159 bioelisa HBsAg 3.0 - 480 tests CODE GMDN 48319* | **Atsaukts no 2021.gada 22.septembra** |
| **BIOKIT SA (Spānija)** | LNE  (NB 0459) | 19727 rev 3 | Device for the detection of Hepatitis C based on an automated enzyme immuno-assay relying on the chemiluminescent technology  *Device: BIO-FLASH® anti-HCV - Ref. 3000-8572, BIO-FLASH® anti-HCV Calibrators - Ref. 3000-8573, BIO-FLASH® anti-HCV Controls - Ref. 3000-8574, (GMDN code : 48360 / 41968 / 41969)* | **Atsaukts no 2021.gada 22.septembra** |
| **BIOKIT SA (Spānija)** | LNE  (NB 0459) | 8805 rev 8 | ELISA tests for the detection of hepatitis B et C. ELISA tests for Hepatitis B Antigen Confirmatory Assay  *Device: 3000-1115 & 3000-1116 bioelisa HCV 4.0 , 3000-1158 bioelisa HBsAg 3.0 - 96 tests, , 3000-1159 bioelisa HBsAg 3.0 - 480 tests* | **Atsaukts no 2021.gada 22.septembra** |
| **BIOKIT SA (Spānija)** | LNE  (NB 0459) | 20186 rev 9 | Devices for the detection of hepatitis C and HIV based on an automated enzyme immuno-assay relying on the chemiluminescent technology  Device : 3000-8572 BIO-FLASH® anti-HCV, 3000-8573 BIO-FLASH® anti-HCV Calibrators, 3000-8574 BIO-FLASH® anti-HCV Controls | **Atsaukts no 2021.gada 22.septembra** |
| **PETERS SURGICAL (Francija)** | LNE  (NB 0459) | 36030 rev 2 | Single-use surgical endoscopic instruments for the area of surgical and electrosurgical applications fordigestive, gynaecological and urological surgeries: pneumoperitoneum needles, laparoscopic retraction /systems, uterine and rectal manipulators | **Atsaukts no 2021.gada 7.oktobra** |
| **PETERS SURGICAL (Francija)** | LNE  (NB 0459) | 9831 rev 8 | Catheters, cannulaes, tubing and accessories | **Atsaukts no 2021.gada 7.oktobra** |
| **PETERS SURGICAL (Francija)** | LNE  (NB 0459) | 16334 rev 9 | Drainage devices | **Atsaukts no 2021.gada 7.oktobra** |
| **PETERS SURGICAL (Francija)** | LNE  (NB 0459) | 36022 rev 5 | Devices for tissue or organ support | **Atsaukts no 2021.gada 7.oktobra** |
| **B-BRAUN MEDICAL (Francija)** | LNE  (NB 0459) | 21677 rev 9 | Peripherally inserted Central catheters and accessories | **Atsaukts no 2021.gada 13.oktobra** |
| **T.A.G. Medical Products Corporation Ltd. (Izraela)** | LNE  (NB 0459) | 32655 rev 22 | Orthopedic implants and Titanium Based Dental Endosseous implants.Disposable Surgical Instruments and Accessories | **Atjaunots no 2021.gada 30.septembra** |
| **LABORATOIRES GILBERT (Francija)** | LNE  (NB 0459) | 28273 rev 5 | Oleocalcareous liniment | **Atsaukts no 2021.gada 29.septembris** |
| **LABORATOIRES GILBERT (Francija)** | LNE  (NB 0459) | 15399 rev 5 | Milian Solution | **Atsaukts no 2021.gada 29.septembris** |
| **LABORATOIRES GILBERT (Francija)** | LNE  (NB 0459) | 13147 rev 5 | Sterile and adhesive surgical sutures for healing | **Atsaukts no 2021.gada 29.septembris** |
| **LABORATOIRES GILBERT (Francija)** | LNE  (NB 0459) | 11584 rev 8 | Eosine spray | **Atsaukts no 2021.gada 29.septembris** |
| **LABORATOIRES GILBERT (Francija)** | LNE  (NB 0459) | 8053 rev. 9 | Solution used to calm the itchings caused by the insect bites or by the plants, presented in impregnated compresses | **Atsaukts no 2021.gada 29.septembris** |
| **INSTITUT NATIONAL DE LA TRANSFUSION (Francija)** | LNE  (NB 0459) | 8679 rev 6 | National Reference panel of red blood test cells | **Atsaukts no 2021.gada 26.novembra** |
| **FUJIREBIO EUROPE N.V. (Beļģija)** | LNE  (NB 0459) | 26227 rev 4 | Devices intended for evaluating the risk of trisomy | **Atsaukts no 2021.gada 29.novembra** |
| **FUJIREBIO EUROPE N.V. (Beļģija)** | LNE  (NB 0459) | 26226 rev 2 | Device for HCV genotyping based on LiPA (Une Probe Assay) test method | **Atsaukts no 2021.gada 29.novembra** |
| **INSTITUT NATIONAL DE LA TRANSFUSION (Francija)** | LNE  (NB 0459) | 8680 rev.6 | National Reference panel of red blood test cells | **Atsaukts no 2021.gada 26.novembra** |
| **FIDIA FARMACEUTICI S.P.A (Itālija)** | LNE  (NB 0459) | 30739 rev 2 | Viscoelastic solution for improvement of skin elasticity and correction of minor soft tissue defects ;  *Device: IAL-SYSTEM ACP / HYAL ACP GMDN 59131* | **Atsaukts no 2021.gada 3.decembra** |
| **FIDIA FARMACEUTICI S.P.A (Itālija)** | LNE  (NB 0459) | 26402 rev 5 | Viscoelastic solution for medium lasting correction of cutaneous contour deficiencies, increase of turgidity and elasticity of the skin  *Device: IAL-SYSTEM ACP HYAL ACP 1 pre-filled syringe 1.0mL* | **Atsaukts no 2021.gada 3.decembra** |
| **CG MEDICAL (Francija)** | LNE  (NB 0459) | 27895 rev 9 | Polyethylene or latex sterile covers for hospital equipments.Polyethylene sterile covers for members | **Atsaukts no 2021.gada 3.decembra** |
| **LAPE MEDICAL (Francija)** | LNE  (NB 0459) | 32177 rev 4 | Full cervical cage  *Device: ASPEN cage.GMDN 38161* | **Atsaukts no 2021.gada 26.novembra** |
| **CAPSULE TECHNOLOGIE SAS (Francija)** | LNE  (NB 0459) | 30578 rev 3 | Patient monitoring system  *Device: SmartLinx Vitals Plus REF SL-VP-NIBPAH-MON-HW* | **Atsaukts no 2021.gada 8.decembra** |
| **LABORATOIRE UNITHER (Francija)** | LNE  (NB 0459) | 25485 rev 7 | Sterile hypertonic solution of sodium chloride 3% in vials for nasal cleansing  *Device: IperNaseFlu Hyperton- A932721475 – 24 unidoses* | **Atsaukts no 2021.gada 8.decembra** |
| **LABORATOIRE UNITHER (Francija)** | LNE  (NB 0459) | 29399 rev 3 | Lubricating and moisturizing sterile solution of carmellose sodium 1% free from preservatives for eyes in unit dose vials | **Atsaukts no 2022.gada 7.janvāra** |
| **VOCALIS HEALTH LTD (Izraēla)** | LNE  (NB 0459) | 36911 rev 1 | Mobile application, dashboard platform for clinicians and backend software that is intended for detecting shortness of breath in COPD patients | **Atsaukts no 2021.gada 17.decembra** |
| **PEROUSE MEDICAL (Francija)** | LNE  (NB 0459) | 9946 rev 9 | Vascular grafts | **Atsaukts no 2022.gada 11.janvāra** |
| **ANIKA THERAPEUTCS SRL (Itālija)** | LNE  (NB 0459) | 10226 rev 13 | Lamina and dressing for surgical repairs in tympanic membrane perforation surgery within myringoplastic and tympanoplastic surgical procedures  *Device: LASERDRUM® - EPIFILM® - LASERDRUM® DISC - EPIDISC® LASERDRUM™ Perf Kit - EPIDISC™ Perforation Patch Kit Code GMDN 34410* | **Atsaukts no 2022.gada 6.janvāra** |
| **ANIKA THERAPEUTCS SRL (Itālija)** | LNE  (NB 0459) | 8481 rev 14 | Surgical adjunct for myringoplasty  *Device: Sinil Quick Gel / Merogel Quick Gel code GMDN 33525* | **Atsaukts no 2022.gada 6.janvāra** |
| **VERFORA SA (Šveice)** | LNE  (NB 0459) | 9048 rev 11 | Sterile single doses of sea water for nasal rinsing | **Atsaukts no 2022.gada 26.janvāra** |
| **LAPE MEDICAL (Francija)** | LNE  (NB 0459) | 32315 rev. 5 | Femoral orthopaedic implants  *Device: Stems OK SC and OK baby SC* | **Atsaukts no 2022.gada 7.janvāra** |
| **PHARMAPLAST SAE (Ēģipte)** | LNE  (NB 0459) | 27236 rev. 20 | Sterile and Non sterile Wound and Burn Dressings  *Device: Pharmagel Breast Pads* | **Atsaukts no 2021.gada 29.decembra** |
| **LUCAS MEDICAL (ASV)** | LNE  (NB 0459) | 35084 rev 2 | Embolectomy, occlusion, thrombectomy,biliary and irrigation catheters, bi-lumen arterial irrigation catheters | **Apturēts no 2022.gada 4.janvāra** |
| **LCS SA (Francija)** | LNE  (NB 0459) | 38070 rev 1 | Visco elastic solutions for rheumatology  *Device: SYNOVIUM SURGICAL* | **Apturēts no 2022.gada 5.janvāra** |
| **DIASORIN S.p.A.** | LNE  (NB 0459) | 9393 rev 4 | Devices for the diagnostic of Hepatitis B based on ELISA (Enzyme Linked lmmuno Sorbent Assay) test method  *Device: ETl-AB-EBK PLUS - Ref. N0139 (GMDN :48347)* | **Atsaukts no 2022.gada 31.janvāra** |
| **DIASORIN S.p.A.** | LNE  (NB 0459) | 9394 rev 6 | Devices for the diagnostic of Hepatitis B based on ELISA (Enzyme Linked lmmuno Sorbent Assay) test method  *Device: ETl EBK PLUS • Ref. N0140 (GMDN :48330)* | **Atsaukts no 2022.gada 31.janvāra** |
| **DIASORIN S.p.A.** | LNE  (NB 0459) | 9404 rev 4 | Devices for the diagnostic of Hepatitis B based on ELISA (Enzyme Linked Immuno Sorbent Assay) test method  *Device: ETI-AB-COREK PLUS - Ref. N0137 (GMDN code : 48303)* | **Atsaukts no 2022.gada 31.janvāra** |
| **DIASORIN S.p.A.** | LNE  (NB 0459) | 22527 rev 2 | Control materials for the diagnosis of Hepatitis B on the LIAISON® and LIAISON® XL Systems  *Device: LIAISON® Control Anti-HBs Il - Ref. 310221 (GMDN code : 41998)* | **Atsaukts no 2022.gada 31.janvāra** |
| **DIASORIN S.p.A.** | LNE  (NB 0459) | 22528 rev 4 | Device for the diagnosis of Hepatitis B on the LIAISON® and LIAISON® XL Systems  Device: LIAISON® Anti-HBs Il Plus - Ref. 310230 (GMDN code : 48316) | **Atsaukts no 2022.gada 31.janvāra** |
| **DIASORIN S.p.A.** | LNE  (NB 0459) | 22529 rev 4 | Device for the diagnosis of Hepatitis B on the LIAISON® and LIAISON® XL Systems  *Device: LIAISON® Anti-HBs Il - Ref. 310220 (GMDN code : 48316)* | **Atsaukts no 2022.gada 31.janvāra** |
| **DIASORIN S.p.A.** | LNE  (NB 0459) | 8332 rev 5 | Devices for the diagnostic of hepatitis B based on ELISA (Enzyme Linked lmmuno Sorbent Assay) test method  *Device: ETl AB AUK-3 - Ref. P001603 (GMDN :48315) ETl-AB-AUK-3 Negative Control - Ref. P001773 (GMDN :48318* | **Atsaukts no 2022.gada 31.janvāra** |
| **DIASORIN S.p.A.** | LNE  (NB 0459) | 9084 rev 8 | Devices for the diagnosis of Hepatitis B based on ELISA (Enzyme Linked lmmuno Sorbent Assay) test method. Devices for the diagnosis of Hepatitis D based on ELISA (Enzyme Linked Immuno Sorbent Assay) test method  *Device: ETl-AB-AUK-3 REF P001603 ETl-AB-AUK-3 Negative Control REF P001773* | **Atsaukts no 2022.gada 31.janvāra** |
| **DIASORIN S.p.A.** | LNE  (NB 0459) | 9098 rev 8 | Devices for the dlagnosis of Hepatitls B based on ELISA (Enzyme Linked lmmuno Sorbent Assay) test method  *Device: ETl-AB.COREK PLUS REF N0137, ETl-CORE-IGMK PLUS REF N0138, ETl-AB-EBK PLUS REF N0139, ETl-EBK PLUS REF N0140* | **Atsaukts no 2022.gada 31.janvāra** |
| **DIASORIN S.p.A.** | LNE  (NB 0459) | 9392 rev 4 | Devices for the diagnostic of Hepatitis B based on ELISA (Enzyme Linked lmmuno Sorbent Assay) test method  *Device: ETl-CORE-lgMK PLUS - Ref. N0138 (GMDN :48297)* | **Atsaukts no 2022.gada 31.janvāra** |
| **LAPE MEDICAL** | LNE  (NB 0459) | 32510 rev 4 | Femoral orthopaedic implants  *Device: Ceramic femoral head BIOLOX DELTA* | **Atsaukts no 2022.gada 2.februāra** |
| **LABORATOIRE ODOST** | LNE  (NB 0459) | 18149 rev 19 | Isotonic nasal spray - Hypertonic nasal spray - Dental spray - Hypertonic spray for ear cleansing  *Device: Hypertonic spray for ear cleansing* | **Atsaukts no 2022.gada 27.janvāra** |
| **PIERRE FABRE MEDICAL DEVICES** | LNE  (NB 0459) | 14458 rev 7 | Sterile solution for ocular cleansing, in single dose | **Atsaukts no 2022.gada 4.februāra** |