| Ražotājs | Paziņotā institūcija (Notified body) | Sertifikāts Nr. | Medicīniskās ierīces, kas norādītas sertifikātā | Neatbilstība |
| --- | --- | --- | --- | --- |
| ANIKA THERAPEUTCS SRL (Itālija) | LNE (0459) | 9512 rev. 13 | Advanced wound care devices (epidermal substitute) for moderately exuding wounds- Superficial surgical wounds- 1st degree and superficiel 2nd degree bums. | Atsaukts no 2021.gada 17.marta |
| LABORATOIRE SYLAMED (Francija) | LNE (0459) | 28627 rev. 3 | Sterile dressing kits - Sterile infusion kits - Infusion kit rinsing or heparinization -Basic kit for chronic wound - Debridement kit for chronic wound. Device: Sterile infusion kits - Infusion kit rinsing or heparinization. | Atsaukts no 2021.gada 25.janvāra. |
| FOURES S.A (Francija) | LNE (0459) | 14016 rev. 5 | Manifold blocks and accessories | Atsaukts no 2021.gada 1.marta. |
| FOURES S.A (Francija) | LNE (0459) | 14018 rev. 6 | Gas mixers and accessories | Atsaukts no 2021.gada 1.marta. |
| FOURES S.A (Francija) | LNE (0459) | 14019 rev. 5 | Gas specific connector | Atsaukts no 2021.gada 1.marta. |
| FOURES S.A (Francija) | LNE (0459) | 15259 rev. 4 | Ceiling pendant | Atsaukts no 2021.gada 1.marta. |
| FOURES S.A (Francija) | LNE (0459) | 17974 rev. 5 | Valves boxes and reducers boxes Technical panels | Atsaukts no 2021.gada 1.marta. |
| FOURES S.A (Francija) | LNE (0459) | 22454 rev. 3 | Gas flow meters | Atsaukts no 2021.gada 1.marta. |
| FOURES S.A (Francija) | LNE (0459) | 32400 rev. 1 | Anaesthetic gas scavenging systems | Atsaukts no 2021.gada 1.marta. |
| SCIENCE ET MEDECINE (SEM) (Francija) | LNE (0459) | 20091 rev.10 | Hip orthopaedic implants. Device: XO modular neck femoral stem | Atsaukts no 2021.gada 19.februāra. |
| SURGISIL LLP (ASV) | LNE (0459) | 22701 rev. 2 | Sterile silicone lip implants | Atsaukts no 2021.gada 26.februāra. |
| GIFRER BARBEZAT (Francija) | LNE (0459) | 35967 rev.4 | Drying solution of aqueous eosin 2% for cutaneous application,Hypertonic seawater solution with propellant gas for nasal wash,Isotonic seawater solution with propellant gas for nasal wash Device : EOSINE GIFER - France REF60000623 ; EOSINE 2% - QUALIPHA BELGIUM , REF60000136 | Atsaukts no 2021.gada 9.marta. |
| XODUS MEDICAL INC (ASV) | LNE (0459) | 32563 rev. 2 | Light handles covers, transfer zones, needle counters, safety stops, syringes transfer cups, scalpel holders, skin markers and shoulder suspension kit Device : Cautery tip cleaner | Atsaukts no 2021.gada 24.februāra. |
| MEDOVEX CORPORATION (ASV) | LNE (0459) | 33041 rev. 2 | Radiofrequency Ablation devices Device : MDVX-DenerveX-1 (DenerveX rotational Ablation device kit) | Atsaukts no 2021.gada 18.marta. |
| SERF (Francija) | LNE (0459) | 20851 rev. 4 | Hip osteoarticular prostheses Device : HYPE cup | Atsaukts no 2021.gada 18.marta. |
| ANIKA THERAPEUTCS SRL (Itālija) | LNE (0459) | 9508 rev. 10 | Support for epidermal cells culture Device: LASERSKIN® CODE GMDN 33525 | Atsaukts no 2021.gada 17.marta. |
| ANIKA THERAPEUTCS SRL (Itālija) | LNE (0459) | 9511 rev.10 | Bioresorbable surgical mesh Device : HYALONECT® GMDN 44688 | Atsaukts no 2021.gada 17.marta. |
| DIABOR, S.L (Spānija) | Agencia Española de Medicamentos y Productos Sanitarios (0318) | 98 12 0190 CD | Dental Devices, Diabor Diamond Dentals Burs | Atsaukts no 2021.gada 10.maija. |
| IBERHOSPITEX, S.A. (Spānija) | Agencia Española de Medicamentos y Productos Sanitarios (0318) | 98 05 0091 CP | Device: White liners without filter 2000 ml, liners with filter 2000 ml, 3-Way stopcock, 3-Way stopcock with extension tube / 10 cm, 25 cm and 50 cm | Atsaukts no 2021.gada 26.aprīļa. |
| IBERHOSPITEX, S.A. (Spānija) | Agencia Española de Medicamentos y Productos Sanitarios (0318) | 98 05 0092 CP | Device: Sterile SMMS polypropylene reinforced surgical gown (size M, L and XL), Sterile SMMS non reinforced polypropylene surgical gown ((size M, L and XL) | Atsaukts no 2021.gada 16.aprīļa. |
| Lentimop S.L. (Spānija) | Agencia Española de Medicamentos y Productos Sanitarios (0318) | 98 06 0122 CT | Ophtalmic and optical devices, Contact lenses care products – Solutions – Desinfecting solutions and neutrilazing tablets | Atsaukts no 2021.gada 9.jūnija. |
| ITALFARMACO, S.A. (Spānija) | Agencia Española de Medicamentos y Productos Sanitarios (0318) | 2012 06 0785 CP | Device: Vaginal lubricant gel 30g tube | Atsaukts no 2021.gada 20.aprīļa. |
| LadyBalance ApS (Dānija). | Presafe Denmark A/S (NB 0543). | DGM-694. | Manufacture and final inspection of vaginal lactose tablets in class lla Device: LadyBalance vaginal lactose tablets. | Atsaukts no 2021.gada 12.marta. |
| GLOBAL D (Francija) | LNE (NB 0459) | 23863 rev. 23 | Plates, titanium mesh and screws for cranio maxilIo facial surgery. Screws for pre-implant surgery. Plates and screws for orthodontie anchoring. Dental implants.Prosthetic systems. Dental and cranio maxilIo facial instrumentation Device: TITANIUM MESH FOR CRANIO MAXILLO FACIALSURGERY MINITEK / MICROTEK | Atsaukts no 2021.gada 9.marta. |
| HEXACATH (Francija) | LNE (NB 0459) | 22010 rev.6 | Aspiration catheter Device: RECOVER CODE GMDN 58173 | Atsaukts no 2021.gada 1.aprīļa. |
| PHARMAPLAST SAE (Ēģipte) | LNE (NB 0459) | 27236 rev. 18 | Sterile and Non sterile Wound and Burn Dressings Device: Rite Aid Hydrogel Breast Discs | Apturēts no 2021.gada 30.marta. |
| RIVERPOINT MEDICAL LLC (ASV) | LNE (NB 0459) | 24789 rev. 8 | Absorbable and non-Absorbable sutures Device: Vilet Quick (PGLA), Vilet II Quick (PGA Quick), RiverSilk (Silk) | Atsaukts no 2021.gada 1.aprīļa. |
| RIVERPOINT MEDICAL LLC (ASV) | LNE (NB 0459) | 24790 rev. 10 | Absorbable and non-Absorbable sutures Device: Vilet Quick (PGLA), Vilet II Quick (PGA Quick), RiverSilk (Silk) | Atsaukts no 2021.gada 1.aprīļa. |
| BIO RAD (Francija) | LNE (NB 0459) | 31193 rev. 0 | ln vitro diagnostic devices for the detection of human infections : cytomegalovlrus Device: MONOFLUO™ Kit CMV – Réf. 52206 code GMDN 49707 | Atsaukts no 2021.gada 19.aprīļa. |
| LABORATOIRE TETRA MEDICAL (Francija) | LNE (NB 0459) | 35061 rev. 2 | Sterile single use Medical Devices: Sterile Swabs and Balls; Sterile caftons; Sterile Absorbent Dressings and dressing articles; Sterile operating drapes; Sterile metallic and plastic instruments for care and surgery applications; Sterile adhesives; Sterile collection devices; Sterile dressing Device: Sterile adhesives | Atsaukts no 2021.gada 5.maija. |
| PRODUITS DENTAIRES PIERRE ROLLAND SAS (Francija) | LNE (NB 0459) | 34792 rev.1 | Sterile dental needles | Atsaukts no 2021.gada 4.maija. |
| SOCIETE ETCCS (Francija) | LNE (NB 0459) | 27518 rev. 11 | Critical care management solutions: Intensive care units software.Software solutions dedicated to postoperative monitoring of vital physiological parameters | Atsaukts no 2021.gada 3.maija. |
| MAXTER CATHETERS (Francija) | LNE (NB 0459) | 9891 rev. 7 | Nasogastric and gastrostomy enterai feeding tubes, stoma seals, extension sets, syringes and accessories Device: ENTRAL™, ENTRAL ™ VAC and SUPERLOCK™ ranges | Atsaukts no 2021.gada 10.maija. |
| VYGON (Francija) | LNE (NB 0459) | 34260 rev.1 | lmplantable vascular access system and accessories Device: HELIOSITE | Atsaukts no 2021.gada 11.maija. |
| HEMODIA SAS (Francija) | LNE (NB 0459) | 31618 rev. 8 | Arthroscopy pumps - Arthroscopy tubings and arthroscopy tubes accessories | Atsaukts no 2021.gada 3.maija. |
| WEBSINGER GmbH (Austrija) | LNE (NB 0459) | 33707 rev.1 | Covers for devices | Apturēts no 2021.gada 1.aprīļa. |
| WEBSINGER GmbH (Austrija) | LNE (NB 0459) | 9349 rev. 6 | Bags for transportation of organs | Apturēts no 2021.gada 1.aprīļa. |
| WEBSINGER GmbH (Austrija) | LNE (NB 0459) | 9348 rev. 8 | Surgical drainage tubes, containers and loops | Apturēts no 2021.gada 1.aprīļa. |
| WEBSINGER GmbH (Austrija) | LNE (NB 0459) | 26351 rev. 4 | lntranasa/ splints / Supports intranasaux | Apturēts no 2021.gada 1.aprīļa. |
| LABORATOIRE AGUETTANT (Francija) | LNE (NB 0459) | 29529 rev. 5 | Sterile solutions for bladder irrigation in patients with total cystectomy and continent urinary diversion Device: VERISIG - 600605 et VERISIG – 600604 | Apturēts no 2021.gada 23.aprīļa. |
| LABORATOIRE AGUETTANT (Francija) | LNE (NB 0459) | 37501 rev. 0 related to securing and maintaining sterile conditions | Sterile solutions for bladder irrigation in patients with total cystectomy and continent urinary diversion Device: VERISIG - 600605 et VERISIG – 600604 | Apturēts no 2021.gada 23.aprīļa. |
| PELSTAR LLC (ASV) | LNE (NB 0459) | 20093 rev. 9 | Patient weighing scales that could include height measuring rod | Atsaukts no 2021.gada 9.maija. |
| ETMI (Francija) | LNE (NB 0459) | 27533 rev. 10 | Medical Imaging software : PACS, workstation viewer, reading stations and medical imaging advance processing | Atsaukts no 2021.gada 3.maija. |
| PETERS SURGICAL (Francija) | LNE (NB 0459) | 9818 rev.15 | Non absorbable surgical sutures and ligatures and pledgets Device: CARDIOFLON EVOLUTION - COROLENE - CORONYL - PREMIO - CARDIONYL POLYTRESSE - CARDIOXYL - Pledgets | Atsaukts no 2021.gada 4.maija. |
| OCEAN TERRE TECHNOLOGIES (Francija) | LNE (NB 0459) | 28286 rev. 5 | Sterile physiological in vials for nasal and ocular cleaning and sterile sea water solutions in vials for nasal cleaning | Atsaukts no 2021.gada 19.aprīļa. |
| OCEAN TERRE TECHNOLOGIES (Francija) | LNE (NB 0459) | 32521 rev. 2 | Isotonic sea water in spray | Atsaukts no 2021.gada 19.aprīļa. |
| OCEAN TERRE TECHNOLOGIES (Francija) | LNE (NB 0459) | 35555 rev. 0 | Flexible and no flexible digital thermometer | Atsaukts no 2021.gada 19.aprīļa. |
| LABORATOIRE DE DIFFUSION DE PRODUITS DE SANTE APPLIQUEE (Francija) | LNE (NB 0459) | 31141 rev. 4 | Oleocalcareous liniment | Atsaukts no 2021.gada 21.aprīļa. |
| ANIKA THERAPEUTCS SRL (Itālija) | LNE (NB 0459) | 9509 rev. 12 | Advanced wound care device (absorbent skin matrix) for acute and chronic exuding wounds such as:venous leg ulcers, donor skin graft sites, pressure ulcers (stage II-IV), surgical wounds, traumatic Device: HYALOFILL® - F | Atsaukts no 2021.gada 20.aprīļa. |
| ANIKA THERAPEUTCS SRL (Itālija) | LNE (NB 0459) | 9510 rev.12 | Advanced wound care device for deep exuding wounds, sinuses and fistulae Device: HYALOFILL® - F | Atsaukts no 2021.gada 20.aprīļa. |
| ANIKA THERAPEUTCS SRL (Itālija) | LNE (NB 0459) | 10504 rev. 11 | Advanced wound care device (autolytic debridement) made of absorbent microgranules for deep discharging cavities Device: HYALOGRAN® | Atsaukts no 2021.gada 20.aprīļa. |
| DIXI MEDICAL (Francija) | LNE (NB 0459) | 34804 rev. 1 | Sterile set of 10 connection holders | Atsaukts no 2021.gada 19.aprīļa. |
| ENDOLOGIX LLC (ASV) | LNE (NB 0459) | 36708 rev. 1 | Abdominal aortic aneurysm devices and accessories (Nellix System) | Atsaukts no 2021.gada 6.aprīļa. |
| ENDOLOGIX LLC (ASV) | LNE (NB 0459) | 36733 rev. 1 | Abdominal aortic aneurysm devices Device: Nellix Endovascular Sealing System GMDN Code: [17461] | Atsaukts no 2021.gada 6.aprīļa. |
| LABORATOIRES CONTAPHARM (Francija) | LNE (NB 0459) | 32923 rev 2 | Hydrating and lubrifying ocular solution Device: REGARD LAGON II Flacon 8 ml REF 109 | Atsaukts no 2021.gada 30.marta. |
| OCEAN TERRE TECHNOLOGIES (Francija) | LNE (NB 0459) | 28284 rev. 3 | Isotonic sea water in spray | Atsaukts no 2021.gada 19.aprīļa. |
| Plant of Hearing Aids “RITM” Ltd. (Krievija) | 3EC International a.s. (NB 2265) | 2020-MDD/QS-020 | HEARING AID Device: “RITM” BEHIND-THE-EAR HEARING AID Type 1: BTE ELECTRONIC HEARING AID Type 2: BTE PROGRAMMABLE HEARING AID Type 3: BTE TRIMMER HEARING AID | Atsaukts no 2021.gada 5.aprīļa. |
| DUKWOO MEDICAL Co., Ltd. (Koreja) | 3EC International a.s. (NB 2265) | 2020-MDD/QS-021 | General-purpose catheter, Sterile Intravascular Catheter Device: General purpose catheter (Model: 3S-G.P. Cath Series); Sterile Intravascular catheter (Model: 3S-CATH+ Series) | Atsaukts no 2021.gada 18.aprīļa. |
| CIMPAX ApS. (Dānija) | 3EC International a.s. (NB 2265) | 2020-MDD/QS-120 | Electrosurgical Diathermy Pencils, Surgical Smoke Evacuation & Accessories for Electrosurgical Diathermy Pencils Device: Models: CIMPAX ® C-VAC TORNADO CIMPAX ® Electrodes | Atsaukts no 2021.gada 18.aprīļa. |
| Assure Tech. (Hangzhou) Co., Ltd. (Ķīna) | 3EC International a.s. (NB 2265) | 2020-IVD/QS-003 | Chlamydia Rapid Test Device (Swab/Urine), Prostate Specific Antigen Rapid Test Device (Whole Blood/Plasma/Serum) Device: CHL-S23, PSA-W23; Brand Name: Ecotest® | Atsaukts no 2021.gada 22.aprīļa. |
| Chetan Meditech Pvt. Ltd. (Indija) | 3EC International a.s. (NB 2265) | 2019-MDD/QS-067 | Orthopaedic Implants, Arthroscopy Implants, Prosthesis Device: Orthopaedic Implants, Arthroscopy Implants, Prosthesis, Brand Name:Biotek | Atsaukts no 2021.gada 25.aprīļa. |
| REMED Co., Ltd. (Koreja) | 3EC International a.s. (NB 2265) | 2020-MDD/QS-097 | Extracorporeal shock wave therapy Device: Extracorporeal shock wave therapy (Model: SALUS-FSWT, SALUS-ESWT-EXPERT) | Atsaukts no 2021.gada 4.aprīļa. |
| Samyang Biopharmaceuticals Corporation (Koreja) | 3EC International a.s. (NB 2265) | 2020-MDD/DE-053 | Absorbable Endoscopic Loop Device: Absorbable Endoscopic Loop Brand Name: Monosorb® Loop (PDO Monofilament Absorbable Loop) | Atsaukts no 2021.gada 16.maija. |
| Samyang Biopharmaceuticals Corporation (Koreja) | 3EC International a.s. (NB 2265) | 2020-MDD/QS-054 ; 2020-MDD/DE-055 | Absorbable Hemostat Brand Name: SurgiGuard® | Atsaukts no 2021.gada 16.maija. |
| Elixir Medical Corporation (ASV) | 3EC International a.s. (NB 2265) | 2020-MDD/QS-086 | Drug Eluting Coronary Bioadaptor System Device: Trade Name: DynamX™ Sirolimus Eluting Coronary Bioadaptor System | Atsaukts no 2021.gada 16.maija. |
| Elixir Medical Corporation (ASV) | 3EC International a.s. (NB 2265) | 2020-MDD/DE-087 | Drug Eluting Coronary Bioadaptor System Device: Trade Name: DynamX™ Sirolimus Eluting Coronary Bioadaptor System | Atsaukts no 2021.gada 16.maija. |
| IMGSA GROUPE INDUSTRIE PHARMACEUTIQUE (Alžīrija) | 3EC International a.s. (NB 2265) | 2020-MDD/QS-073 | PREPOWDERED SURGICAL LATEX GLOVES Device: Surgical Gloves Sizes: 6.5, 7, 7.5, 8 | Atsaukts no 2021.gada 18.maija. |
| NEXTBIOMEDICAL CO., LTD. (Koreja) | 3EC International a.s. (NB 2265) | 2018-MDD/QS-037 ; 2018-MDD/DE-038 | Embolization implant inserter, intervascular Device: NexsphereTM, Model: UIGB020, UIGB100, UIGB300, UIGB500, UIGB700, UIGB020A, UIGB100A, UIGB020B, UIGB100B | Atsaukts no 2021.gada 19.maija. |
| DEYMED Diagnostic s.r.o. (Čehija) | 3EC International a.s. (NB 2265) | 2018-MDD/QS-028 | Magnetic stimulator Device: Magnetic stimulator DuoMAG Type: MP and XT-10/XT-35/XT-100 | Atsaukts no 2021.gada 19.maija. |
| Al Fateh Factory for Medical Supplies (Ēģipte) | 3EC International a.s. (NB 2265) | 2019-MDD/QS-090 | Sterile Hypodermic Syringe for Single Use | Atsaukts no 2021.gada 20.maija. |
| CAREGEN Co., Ltd. (Koreja) | 3EC International a.s. (NB 2265) | 2019-MDD/QS-034 ; 2019-MDD/DE-035 | Soft filler Device: REVOFIL Aquashine, REVOFIL Aquashine Platinum REVOFIL AquashineBR, REVOFIL AquashineBR Platinum Aquashine BTXTM | Atsaukts no 2021.gada 20.maija. |
| Miracell Inc. (Koreja) | 3EC International a.s. (NB 2265) | 2020-MDD/QS-043 ; 2020-MDD/DE-044 | Autologous Platelet Concentrate Procedure Pack Device: BSC 30 / BSC 60 / BSC 120 / BSC+③ 30 / BSC+③ 60 / BSC+③ 120 | Atsaukts no 2021.gada 23.maija. |
| Arrow for Medical Necessities (Ēģipte) | 3EC International a.s. (NB 2265) | 2019-MDD/QS-051 | Sterile Hypodermic Syringe for Single Use Device: Trade name: Arrow Syringe | Atsaukts no 2021.gada 23.maija. |
| Scitech Produtos Médicos SA (Brazīlija) | 3EC International a.s. (NB 2265) | 2019-MDD/QS-055/A | Stents, Stent Delivery Systems Device: Solaris Vascular Stent Graft | Atsaukts no 2021.gada 23.maija. |
| ACROSS Co., Ltd. (Koreja) | 3EC International a.s. (NB 2265) | 2020-MDD/QS-066 ; 2020-MDD/DE-067 | Cross linked HA soft tissue filling gel VOLUS 10 Device: VOLUS 10, VOLUS, VOLUMADE, THE CHAEUM shape 10 | Atsaukts no 2021.gada 24.maija. |
| Vasmed Technologies Ltd. FZC (Apvienotie Arābu Emirāti) | 3EC International a.s. (NB 2265) | 2019-MDD/QS-060 ; 2019-MDD/DE-061 | Percutaneous Transluminal Coronary Angioplasty (PTCA) balloon catheter Device: Brand Name: High Track | Atsaukts no 2021.gada 24.maija. |
| Vasmed Technologies Ltd. FZC (Apvienotie Arābu Emirāti) | 3EC International a.s. (NB 2265) | 2019-MDD/QS-064 ; 2019-MDD/DE-065 | Rapid Exchange PTCA balloon catheter Device: Rapid Exchange PTCA balloon catheter: Vas Track | Atsaukts no 2021.gada 24.maija. |
| Healthium Medtech Private Limited (Indija) | 3EC International a.s. (NB 2265) | 2017-MDD/QS-054/A | Sterile Non-absorbable Surgical Suture, Sterile Non-absorbable Surgical Mesh Device: Sterile Non-absorbable Surgical Suture Sterile, Brand Name: TRUSTEEL, Q-CLOSE STEEL, RITEMED STEEL; Non-absorbable Surgical Mesh, Brand Name: TRULENE MESH, Q-CLOSE MESH | Atsaukts no 2021.gada 24.maija. |
| Healthium Medtech Private Limited (Indija) | 3EC International a.s. (NB 2265) | 2017-MDD/QS-055/B ; 2017-MDD/DE-056/B | Sterile Absorbable Surgical Suture Sterile Non-absorbable Surgical Suture Sterile Partially Absorbable Surgical Mesh Device: Sterile Absorbable Surgical Suture with or without needle Sterile Non-absorbable Surgical Suture with or without needle Sterile Partially Absorbable Surgical Mesh (detail list of brand names in Annex to EC Certificate) | Atsaukts no 2021.gada 24.maija. |
| Healthium Medtech Private Limited (Indija) | 3EC International a.s. (NB 2265) | 2018-MDD/QS-037/A; 2018-MDD/DE-038/A | Sterile Bone Wax Brand name: TRUWAX, Q-Close Bone Wax, LINXWAX, BONEWAX BW25 | Atsaukts no 2021.gada 24.maija. |
| Healthium Medtech Private Limited (Indija) | 3EC International a.s. (NB 2265) | 2018-MDD/QS-039/A ; 2018-MDD/DE-040/A | Absorbable Hemostat Brand Name: Clinicel, Q-Close Cel, Q-Close Stat, LINXCEL | Atsaukts no 2021.gada 24.maija. |
| Healthium Medtech Private Limited (Indija) | 3EC International a.s. (NB 2265) | 2018-MDD/QS-042/A | Sterile Skin Stapler Brand name: TruPler, Q Close Skin Stapler, Dermator, Trupler Neo, Trupler Eco, Surgipler, Healier, LINX Stapler | Atsaukts no 2021.gada 24.maija. |
| Karel Hrnčíř – BIOMAG (Čehija) | 3EC International a.s. (NB 2265) | 2020-MDD/QS-019/A | Magnetic Therapy Device Device: Biomag® Lumina, Biomag® Lumio, Biomag® LightFit, LightFit DUO, Biomag® Lumina 3D-e, Biomag® Lumio-e, Biomag® Lumio 3D-e | Atsaukts no 2021.gada 2.maija. |
| THOR Photomedicine Limited (Lielbritānija) | 3EC International a.s. (NB 2265) | 2020-MDD/QS-115 | Photobiomodulation Therapy System Device: LX2.3 Laser and LED Therapy System | Atsaukts no 2021.gada 2.maija. |
| PharmaResearch Products Co., Ltd. (Koreja) | 3EC International a.s. (NB 2265) | 2020-MDD/QS-070; 2020-MDD/DE-071 | Injectable Dermal Filler Device: REJURAN, REJURAN i, REJURAN s | Atsaukts no 2021.gada 3.maija. |
| MEDICAL IMPACT (Koreja) | 3EC International a.s. (NB 2265) | 2018-MDD/QS-005/A; 2018-MDD/DE-006/A | EZ-Close (Port Site Closure System) Model Names: EZ01 (Body and Needle), EZ02 (Cartridge with Absorbable Suture) | Atsaukts no 2021.gada 13.maija. |
| NEXTBIOMEDICAL CO., LTD. (Koreja) | 3EC International a.s. (NB 2265) | 2018-MDD/QS-032/B; 2018-MDD/DE-033/B | Non-absorbable hemostatic powder Device: Nexpowder, Model Names: UI-EWD1, UI-EWD2, UI-EWD3 | Atsaukts no 2021.gada 14.maija. |
| NEXTBIOMEDICAL CO., LTD. (Koreja) | 3EC International a.s. (NB 2265) | 2018-MDD/DE-034/B | Nexpowder Catheter | Atsaukts no 2021.gada 14.maija. |
| Samyang Biopharmaceuticals Corporation (Koreja) | 3EC International a.s. (NB 2265) | 2019-MDD/QS-037 | Hemostatic Dressing & Interventional Hemostatic Pad Brand Name: Q-Guard™ | Atsaukts no 2021.gada 16.maija. |
| Samyang Biopharmaceuticals Corporation (Koreja) | 3EC International a.s. (NB 2265) | 2019-MDD/QS-038; 2019-MDD/DE-039 | Absorbable Adhesion Barrier Brand Name: InterGuard® Model: DMIG201, DMIG202, DMIG203 | Atsaukts no 2021.gada 16.maija. |
| Samyang Biopharmaceuticals Corporation (Koreja) | 3EC International a.s. (NB 2265) | 2020-MDD/QS-050; 2020-MDD/DE-051 | Absorbable Endoscopic Loop Brand Name: Neosorb® Loop (PGLA 910 Multifilament Absorbable Loop) | Atsaukts no 2021.gada 16.maija. |
| Samyang Biopharmaceuticals Corporation (Koreja) | 3EC International a.s. (NB 2265) | 2020-MDD/QS-052 | Absorbable Endoscopic Loop Brand Name: Monosorb® Loop (PDO Monofilament Absorbable Loop) | Atsaukts no 2021.gada 16.maija. |
| BIOMERIEUX (Francija) | LNE (NB 0459) | 9114 rev. 4 | ln vitro diagnostic device for the detection of toxoplasmosis by agglutination and immunofluorescence techniques Device: TOXO-SCREEN DA® - Réf. 75481 (GMDN 52439) | Atsaukts no 2021.gada 1.jūnija. |
| LINKAGE BIOSCIENCES INC (ASV) | LNE (NB 0459) | 29270 rev. 6 | In Vitro diagnostic medical devices for the detection of human leucocyte antigens (HLA): DR, A and B | Atsaukts no 2021.gada 3.jūnija. |
| BIOKIT SA (Spānija) | LNE (NB 0459) | 21766 rev 2 | Devices for the detection of HIV based on an automated enzyme immuno-assay relying on the chemiluminescent technology Device: BIO-FLASH® anti-HIV 1+2 - Ref. 3000-8575 BIO-FLASH® anti-HIV 1+2 Calibrators - Ref. 3000-8576 BIO-FLASH® anti-HIV 1+2 Controls - Ref. 3000-8577 | Atsaukts no 2021.gada 12.februāra. |
| BIOKIT SA (Spānija) | LNE (NB 0459) | 20186 rev 8 | Devices for the detection of hepatitis C and HIV based on an automated enzyme immuno-assay relying on the chemiluminescent technology Device: BIO-FLASH® anti-HIV 1+2 - Ref. 3000-8575 BIO-FLASH® anti-HIV 1+2 Calibrators - Ref. 3000-8576 BIO-FLASH® anti-HIV 1+2 Controls - Ref. 3000-8577 | Atsaukts no 2021.gada 12.februāra. |
| FH INDUSTRIE (Francija) | LNE (NB 0459) | 31330 rev. 4 | Orthopaedic implants for hip Device : HIP'N GO VA SC femoral stems(GMDN P33581) | Atsaukts no 2021.gada 19.maija. |
| BIOMET France (Francija) | LNE (NB 0459) | 8165 rev. 10 | Hip orthopaedic implants Device: UP-TION® and UP-TION COMPLETE® femoral stems (GMDN 33581) | Atsaukts no 2021.gada 21.maija. |
| BIOMET France (Francija) | LNE (NB 0459) | 13362 rev. 6 | Trapezial Metacarpal Prosthesis | Atsaukts no 2021.gada 21.maija. |
| ANIKA THERAPEUTCS SRL (Itālija) | LNE (NB 0459) | 8727 rev. 13 | Wound dressing for deep-chronic wounds. Dermal substitute for tissue reconstruction Device: HYALOMATRIX PA | Atsaukts no 2021.gada 17.maija. |
| ANIKA THERAPEUTCS SRL (Itālija) | LNE (NB 0459) | 9744 rev.13 | Advanced wound care devices Device: HYALOMATRIX PA | Atsaukts no 2021.gada 17.maija. |
| NATEC MEDICAL LTD (Maurīcija) | LNE (NB 0459) | 10356 rev. 12 | Coronary angioplasty catheters Device: TAMARIN Blue range | Atsaukts no 2021.gada 20.maija. |
| NATEC MEDICAL LTD (Maurīcija) | LNE (NB 0459) | 25450 rev. 4 | Urology catheter | Atsaukts no 2021.gada 20.maija. |
| NATEC MEDICAL LTD (Maurīcija) | LNE (NB 0459) | 25451 rev. 5 | Gastroenterology catheter | Atsaukts no 2021.gada 20.maija. |
| LABORATOIRE DE DIFFUSION DE PRODUITS DE SANTE APPLIQUEE (Francija) | LNE (NB 0459) | 32665 rev. 5 | Single dose of sterile physiological salt solution 0.9% (NaCl 0,9 %) for nasal and ophthalmic hygiene, wound rinsing and aerosoltherapy | Atsaukts no 2021.gada 21.maija. |
| DIAGAST (Francija) | LNE (NB 0459) | 9235 rev. 5 | Annex II List A: Blood grouping determination HEMATEST A1, B - HEMATEST A1, A2, B, 0 (GMDN 30596) | Atsaukts no 2021.gada 12.jūlija. |
| DIAGAST (Francija) | LNE (NB 0459) | 10232 rev. 7 | Annex II list A : Blood grouping determination : Rh/Kell system | Atsaukts no 2021.gada 13.jūlija. |
| LABORATOIRES EUROMEDIS (Francija) | LNE (NB 0459) | 34299 rev. 0; 34306 rev. 0 | Sterile gauze swabs with X-ray thread | Atsaukts no 2021.gada 20.maija. |
| LABORATOIRES EUROMEDIS (Francija) | LNE (NB 0459) | 34300 rev. 0 | Sterile medical devices for single use: Sterile hypodermic needles - Sterile intravenous needles - Sterile insulin syringes - Sterile disposable syringes - Sterile insulin needles - Sterile blood collecting needles | Atsaukts no 2021.gada 20.maija. |
| LABORATOIRES EUROMEDIS (Francija) | LNE (NB 0459) | 34302 rev. 0 | Sterile surgical gloves | Atsaukts no 2021.gada 20.maija. |
| LABORATOIRES EUROMEDIS (Francija) | LNE (NB 0459) | 34304 rev. 0 | Surgical disposable medical devices (sterile disposable scalpels in stainless steel, sterile safety scalpels in stainless steel, stitch cutters and sterile surgical blades in carbon steel | Atsaukts no 2021.gada 20.maija. |
| LABORATOIRES EUROMEDIS (Francija) | LNE (NB 0459) | 36192 rev. 0 | Sterile dialysis set, sterile dressing set, sterile catheterization set - Suture removers sets | Atsaukts no 2021.gada 20.maija. |
| LABORATOIRES EUROMEDIS (Francija) | LNE (NB 0459) | 36195 rev. 1 | Infusion dressing set | Atsaukts no 2021.gada 20.maija. |
| LABORATOIRES EUROMEDIS (Francija) | LNE (NB 0459) | 18181 rev. 4 | Sterile examination gloves | Atsaukts no 2021.gada 20.maija. |
| LABORATOIRES EUROMEDIS (Francija) | LNE (NB 0459) | 18183 rev. 4 | Surgical gowns - Sterile surgical drapes | Atsaukts no 2021.gada 20.maija. |
| LABORATOIRES EUROMEDIS (Francija) | LNE (NB 0459) | 18184 rev. 7 | Sterile compresses (sterile gauze swabs, sterlle non woven swabs, sterile non-woven absorbent pads) -Sterile bandages - Sterile gauze ball - Sterile non woven ball - Wound dressing - Sterile forceps | Atsaukts no 2021.gada 20.maija. |
| LABORATOIRES EUROMEDIS (Francija) | LNE (NB 0459) | 19213 rev. 6 | Sterile absorbent pad - Sterile bandages - Sterile adhesive surgical dressing - Sterile gauze swabs without X-ray thread - Sterile non-woven swabs without X-ray thread | Atsaukts no 2021.gada 20.maija. |
| LABORATOIRES EUROMEDIS (Francija) | LNE (NB 0459) | 24533 rev. 2 | Sterile swabs (sterile X-Ray gauze swab, sterile lap sponges in gauze, sterile lap sponges in non woven | Atsaukts no 2021.gada 20.maija. |
| LABORATOIRES EUROMEDIS (Francija) | LNE (NB 0459) | 24534 rev. 4 | Sterile gauze and non woven swabs | Atsaukts no 2021.gada 20.maija. |
| LABORATOIRES EUROMEDIS (Francija) | LNE (NB 0459) | 24535 rev. 4 | Equipment cover (Tube cover and handed bag for intensifier) | Atsaukts no 2021.gada 20.maija. |
| LABORATOIRES EUROMEDIS (Francija) | LNE (NB 0459) | 28567 rev. 2 | Urine bags for single use | Atsaukts no 2021.gada 20.maija. |
| LABORATOIRES EUROMEDIS (Francija) | LNE (NB 0459) | 30648 rev. 2 | Gauze Swabs - Non Woven Swabs - ABD Pads | Atsaukts no 2021.gada 20.maija. |
| LABORATOIRES EUROMEDIS (Francija) | LNE (NB 0459) | 31794 rev. 2 | Surgical Gowns - Surgical Drapes - Surgical kits (including packs for cardiology, orthopedic, gynecology, urology , angiography , ophthalmology, neurology, laparotomy, pediatric ENT, surgical operation of the head and neck) | Atsaukts no 2021.gada 20.maija. |
| LABORATOIRES EUROMEDIS (Francija) | LNE (NB 0459) | 31796 rev. 1 | Sterile Vaginal Speculum for single use | Atsaukts no 2021.gada 20.maija. |
| LABORATOIRES EUROMEDIS (Francija) | LNE (NB 0459) | 32956 rev. 2 | Infusion sets - Transfusion sets - Extension sets with or without stopcock | Atsaukts no 2021.gada 20.maija. |
| LABORATOIRES EUROMEDIS (Francija) | LNE (NB 0459) | 33789 rev. 3 | Sterile X-ray detectable swabs | Atsaukts no 2021.gada 20.maija. |
| LABORATOIRES EUROMEDIS (Francija) | LNE (NB 0459) | 34295 rev. 0 | Sterile surgical gloves | Atsaukts no 2021.gada 20.maija. |
| LABORATOIRES EUROMEDIS (Francija) | LNE (NB 0459) | 34296 rev. 1 | Non rebreath mask - Steri/e nasal oxygen cannula - Sterile oxygen masks - Sterile tracheostomy mask - Sterile suction catheter | Atsaukts no 2021.gada 20.maija. |
| LABORATOIRES EUROMEDIS (Francija) | LNE (NB 0459) | 34298 rev. 0 | Blood pressure monitors | Atsaukts no 2021.gada 20.maija. |
| STERIFIL SA (Maroka) | LNE (NB 0459) | 34611 rev. 2 | Sterile surgical swabs | Atsaukts no 2021.gada 7.jūnija. |
| STERIFIL SA (Maroka) | LNE (NB 0459) | 34612 rev. 2 | Ocular sterile swabs and sterile swabs | Atsaukts no 2021.gada 7.jūnija. |
| LAPE MEDICAL (Francija) | LNE (NB 0459) | 32780 rev. 4 | Femoral orthopaedic implants | Atsaukts no 2021.gada 10.jūnija. |
| PEROUSE MEDICAL (Francija) | LNE (NB 0459) | 33227 rev. 4 | Medical devices and accessories for injection, infusion, interventional imaging | Atsaukts no 2021.gada 10.jūnija. |
| DRIVE DEVILBLISS HEALTHCARE FRANCE (Francija) | LNE (NB 0459) | 7672 rev 6 | Pressurizing cuffs | Atsaukts no 2021.gada 10.jūnija. |
| LABORATOIRE DE DIFFUSION DE PRODUITS DE SANTE APPLIQUEE (Francija) | LNE (NB 0459) | 13923 rev 5 | Lubricating moisturizing gel of marine and vegetal origin | Atsaukts no 2021.gada 18.jūnija. |
| ANIKA THERAPEUTCS SRL (Itālija) | LNE (NB 0459) | 13536 rev. 16 | Mechanical barrier for the prevention or minimization of post-surgical adhesions after surgery in the abdominal pelvic area | Atsaukts no 2021.gada 20.maija. |
| Williams Medical Supplies Ltd. (Lielbritānija) | LNE (NB 0459) | 35880 rev. 2 | Sterile single use vaginal speculum, uterine sound, thread retriever and cervical dilators | Atsaukts no 2021.gada 19.maija. |
| ASPIDE MEDICAL (Francija) | LNE (NB 0459) | 8363 rev.14 | Reinforcement and support implants, polymer or silicone based, for general, visceral and digestive, gynecological and urological surgeries | Atsaukts no 2021.gada 21.maija. |
| ELLIPSE (Francija) | LNE (NB 0459) | 32407 rev. 4 | Effervescent denture cleansing tablet (antibacterial) | Atsaukts no 2021.gada 26.maija. |
| SYMATESE (Francija) | LNE (NB 0459) | 25881 rev. 6 | Bone substitute product Device: COLLAPAT® II | Atsaukts no 2021.gada 27.maija. |
| EDEN INNOVATIONS (Francija) | LNE (NB 0459) | 29076 rev. 1 | Devices for monitoring defibrillators operations | Atsaukts no 2021.gada 24.marta. |
| DIXI MEDICAL (Francija) | LNE (NB 0459) | 34823 rev. 5 | Accessories and instruments for neurosurgery | Atsaukts no 2021.gada 4.jūnija. |
| ANIKA THERAPEUTCS SRL (Itālija) | LNE (NB 0459) | 8287 rev.14 | Mechanical barrier for the prevention or minimization of post-surgical adhesions after intra articular, tendon and/or peripheral nerve surgery Device: HYALOGLIDE - HYALOGLIDE MINI | Atsaukts no 2021.gada 7.jūnija. |
| LABORATOIRES OSTEAL MEDICAL (CERAVER) (Francija) | LNE (NB 0459) | 31253 rev. 10 | Hip prostheses Device: OSTEAL femoral stem LARO 300 – réf. 10009 | Apturēts no 2021.gada 30.jūnija. |
| T.A.G. Medical Products Corporation Ltd (Izraēla) | LNE (NB 0459) | 32655 rev 22 | Orthopedic implants and Titanium Based Dental Endosseous implants.Disposable Surgical Instruments and Accessories Device: RobiCone Implants, Versaloop Anchor | Apturēts no 2021.gada 12.jūlija. |
| OCON MEDICAL LTD (Izraēla) | LNE (NB 0459) | 33351 rev 7 | Intrauterine devices Device: IUB Ballerine® GMDN code : 46920) | Apturēts no 2021.gada 16.jūlija. |
| GE HEALTHCARE GmbH (Vācija) | LNE (NB 0459) | 35692 rev. 3 | Mammography diagnostic workstation Device: SENOIRIS 1 | Atsaukts no 2021.gada 24.jūnija. |
| DIAGAST (Francija) | LNE (NB 0459) | 9235 rev 5 | Annex II List A : Blood grouping determination Device: HEMATEST A1, B - HEMATEST A1, A2, B, 0 (GMDN 30596) | Atsaukts no 2021.gada 12.jūlija. |
| DIAGAST (Francija) | LNE (NB 0459) | 10232 rev 7 | Annex II list A : Blood grouping determination : Rh/Kell system | Atsaukts no 2021.gada 13.jūlija. |
| CREST MEDICAL LIMITED (Lielbritānija) | LNE (NB 0459) | 32622 rev 5 | Ice packs, wound and eye-care solutions, wipes, blister plasters, and thermometers for use in active rehabilitation, emergency treatment, monitoring non-vital physiological parameters and wound care | Atsaukts no 2021.gada 20.maija |
| CREST MEDICAL LIMITED (Lielbritānija) | LNE (NB 0459) | 32623 rev 6 | Dressings swabs, eye wash, plasters, skin closures, absorbent pads to be used in wound care, gynecology and obstetrics, and sterile maternity pads. | Atsaukts no 2021.gada 20.maija |
| EARLENS CORPORATION (ASV) | LNE (NB 0459) | 28822 rev 5 | Hearing Aid Systems | Atsaukts no 2021.gada 15.jūlija |
| LA MAISON DENTAIRE (Lihtenšteina) | LNE (NB 0459) | 8815 rev 7 | Dental retraction cord Device: MEDI -KORD CODE GMDN 46423 | Apturēts no 2021.gada 19.augusta |
| LABORATOIRES URGO (Francija) | LNE (NB 0459) | 33407 rev 4 | Medical devices sofwares intended for the management of wounds Device: HEALICO V 1.1 | Atsaukts no 2021.gada 20.augusta |
| CREST MEDICAL LIMITED (Lielbritānija) | LNE (NB 0459) | 32624 rev 2 | Non sterile HF antidote Gel for use in the emergency treatment of hydrofluoric acid burns | Atsaukts no 2021.gada 20.maija |
| ARTHESYS (Francija) | LNE (NB 0459) | 21779 rev 5 | Accessories for endovascular procedures Device: TORQUER OEM (en vrac) REF 17020002; TORQUER OEM STERILE REF 17020003 | Atsaukts no 2021.gada 19.jūlija |
| PEROUSE MEDICAL (Francija) | LNE (NB 0459) | 34768 rev 2 | Systems of transfer and systems, equipments and accessories for injection, infusion, interventional imaging and interventional cardiology. Systems of transfer and systems, equipments and accessories for kyphoplasty Device: Y CONNECTOR SQUYD (GMDN 36177) | Atsaukts no 2021.gada 27.jūlija |
| BIO RAD (Francija) | LNE (NB 0459) | 18723 rev 4 | ln vitro diagnostic medical devices for the confirmation of markers of the hepatitis B Device: MONOLISA ™Ag HBs ULTRA Confirmatory - Code 72409 (GMDN 48319) | Atsaukts no 2021.gada 27.augusta |
| B-BRAUN MEDICAL (Francija) | LNE (NB 0459) | 10189 rev. 8 | Implantable vascular access systems and accessories Device: Venous implantable vascular access systems Celsite InterVentional with catheter Anthron | Atsaukts no 2021.gada 13.septembra |
| AIRSEP CORPORATION (ASV) | LNE (NB 0459) | 31277 rev. 3 | Oxygen Generators and their components for use in hospitals/healthcare institutions for applications including anesthesia, respiratory therapy and for supplying oxygen to Intensive Care Units- Withdrawal of anesthesia requests | Atsaukts no 2021.gada 7.septembra |
| LABORATOIRE 7MED (Francija) | LNE (NB 0459) | 8477 rev 14 | Intra-uterine devices Device : UT 380 | Apturēts no 2021.gada 6.septembra |
| LABORATOIRE 7MED (Francija) | LNE (NB 0459) | 10251 rev 11 | Intra-uterine devices Device : LOAD 375 | Apturēts no 2021.gada 6.septembra |
| LABORATOIRE 7MED (Francija) | LNE (NB 0459) | 10387 rev 13 | Intra-uterine devices Device : TT 380 | Apturēts no 2021.gada 6.septembra |
| WEBSINGER GmbH (Austrija) | LNE (NB 0459) | 9348 rev 9 | Surgical drainage tubes and loops | Atsaukts no 2021.gada 20.augusta |
| WEBSINGER GmbH (Austrija) | LNE (NB 0459) | 26351 rev 4 | lntranasal splints | Atsaukts no 2021.gada 20.augusta |
| WEBSINGER GmbH (Austrija) | LNE (NB 0459) | 38533 rev 0 | Containers | Atsaukts no 2021.gada 24.augusta |
| SHIFT LABS INC (ASV) | LNE (NB 0459) | 32482 rev. 3 | Supplementary monitoring device system used to measure the flow of fluid for standard IV administration set | Atsaukts no 2021.gada 10.septembra |
| ANIKA THERAPEUTICS SRL (ASV) | LNE (NB 0459) | 36826 rev. 1 | Sterile hyaluronic acid for surgical, orthopaedic ophthalmic application.Viscoelastic product for intradermal injection. Device: Ophtalmic medical devices : Sterile Cingal ®, Sterile Monovisc™ 4ml volume, Sterile Orthovisc™-T mini Sodium Hyaluronate – 15mg/ml, 1ml Volume, Orthovisc™-T Sodium Hyaluronate – 15mg/ml, 2ml Volume, Sterile Orthovisc™ mini Sodium Hyaluronate – 15mg/ml, 1ml Volume, Orthovisc™ Sodium Hyaluronate – 15mg/ml, 2ml Vo | Atsaukts no 2021.gada 16.septembra |
| WILLIAMS MEDICAL SUPPLIES LTD (Lielbritānija) | LNE (NB 0459) | 35879 rev. 2 | Non-active, non-sterile single use and reusable autoclavable resuscitation devices Device: D44574, W4440/1, W4441/1, W4441/2, W4443/1, W4446/1, W4446/2, W4452/4, W4452/5, W44525, W4453, W4453/1, W4454/2, W4454/3, W4454, W4455, W4456, W4456/0, W4456/1, W44574, W4460, W4464, W4472, W4473, W4475,W4477, W4545 | Atsaukts no 2021.gada 14.septembra |
| BIOKIT SA (Spānija) | LNE (NB 0459) | 12651 rev 5 | ELISA Tests for the detection of hepatitis B Device : 3000-1158 bioelisa HBsAg 3.0 - 96 tests, 3000-1159 bioelisa HBsAg 3.0 - 480 tests CODE GMDN 48319 | Atsaukts no 2021.gada 22.septembra |
| BIOKIT SA (Spānija) | LNE (NB 0459) | 19727 rev 3 | Device for the detection of Hepatitis C based on an automated enzyme immuno-assay relying on the chemiluminescent technology Device: BIO-FLASH® anti-HCV - Ref. 3000-8572, BIO-FLASH® anti-HCV Calibrators - Ref. 3000-8573, BIO-FLASH® anti-HCV Controls - Ref. 3000-8574, (GMDN code : 48360 / 41968 / 41969) | Atsaukts no 2021.gada 22.septembra |
| BIOKIT SA (Spānija) | LNE (NB 0459) | 8805 rev 8 | ELISA tests for the detection of hepatitis B et C. ELISA tests for Hepatitis B Antigen Confirmatory Assay Device: 3000-1115 & 3000-1116 bioelisa HCV 4.0 , 3000-1158 bioelisa HBsAg 3.0 - 96 tests, , 3000-1159 bioelisa HBsAg 3.0 - 480 tests | Atsaukts no 2021.gada 22.septembra |
| BIOKIT SA (Spānija) | LNE (NB 0459) | 20186 rev 9 | Devices for the detection of hepatitis C and HIV based on an automated enzyme immuno-assay relying on the chemiluminescent technology Device : 3000-8572 BIO-FLASH® anti-HCV, 3000-8573 BIO-FLASH® anti-HCV Calibrators, 3000-8574 BIO-FLASH® anti-HCV Controls | Atsaukts no 2021.gada 22.septembra |
| PETERS SURGICAL (Francija) | LNE (NB 0459) | 36030 rev 2 | Single-use surgical endoscopic instruments for the area of surgical and electrosurgical applications fordigestive, gynaecological and urological surgeries: pneumoperitoneum needles, laparoscopic retraction /systems, uterine and rectal manipulators | Atsaukts no 2021.gada 7.oktobra |
| PETERS SURGICAL (Francija) | LNE (NB 0459) | 9831 rev 8 | Catheters, cannulaes, tubing and accessories | Atsaukts no 2021.gada 7.oktobra |
| PETERS SURGICAL (Francija) | LNE (NB 0459) | 16334 rev 9 | Drainage devices | Atsaukts no 2021.gada 7.oktobra |
| PETERS SURGICAL (Francija) | LNE (NB 0459) | 36022 rev 5 | Devices for tissue or organ support | Atsaukts no 2021.gada 7.oktobra |
| B-BRAUN MEDICAL (Francija) | LNE (NB 0459) | 21677 rev 9 | Peripherally inserted Central catheters and accessories | Atsaukts no 2021.gada 13.oktobra |
| T.A.G. Medical Products Corporation Ltd. (Izraela) | LNE (NB 0459) | 32655 rev 22 | Orthopedic implants and Titanium Based Dental Endosseous implants.Disposable Surgical Instruments and Accessories | Atjaunots no 2021.gada 30.septembra |
| LABORATOIRES GILBERT (Francija) | LNE (NB 0459) | 28273 rev 5 | Oleocalcareous liniment | Atsaukts no 2021.gada 29.septembris |
| LABORATOIRES GILBERT (Francija) | LNE (NB 0459) | 15399 rev 5 | Milian Solution | Atsaukts no 2021.gada 29.septembris |
| LABORATOIRES GILBERT (Francija) | LNE (NB 0459) | 13147 rev 5 | Sterile and adhesive surgical sutures for healing | Atsaukts no 2021.gada 29.septembris |
| LABORATOIRES GILBERT (Francija) | LNE (NB 0459) | 11584 rev 8 | Eosine spray | Atsaukts no 2021.gada 29.septembris |
| LABORATOIRES GILBERT (Francija) | LNE (NB 0459) | 8053 rev. 9 | Solution used to calm the itchings caused by the insect bites or by the plants, presented in impregnated compresses | Atsaukts no 2021.gada 29.septembris |
| INSTITUT NATIONAL DE LA TRANSFUSION (Francija) | LNE (NB 0459) | 8679 rev 6 | National Reference panel of red blood test cells | Atsaukts no 2021.gada 26.novembra |
| FUJIREBIO EUROPE N.V. (Beļģija) | LNE (NB 0459) | 26227 rev 4 | Devices intended for evaluating the risk of trisomy | Atsaukts no 2021.gada 29.novembra |
| FUJIREBIO EUROPE N.V. (Beļģija) | LNE (NB 0459) | 26226 rev 2 | Device for HCV genotyping based on LiPA (Une Probe Assay) test method | Atsaukts no 2021.gada 29.novembra |
| INSTITUT NATIONAL DE LA TRANSFUSION (Francija) | LNE (NB 0459) | 8680 rev.6 | National Reference panel of red blood test cells | Atsaukts no 2021.gada 26.novembra |
| FIDIA FARMACEUTICI S.P.A (Itālija) | LNE (NB 0459) | 30739 rev 2 | Viscoelastic solution for improvement of skin elasticity and correction of minor soft tissue defects ; Device: IAL-SYSTEM ACP / HYAL ACP GMDN 59131 | Atsaukts no 2021.gada 3.decembra |
| FIDIA FARMACEUTICI S.P.A (Itālija) | LNE (NB 0459) | 26402 rev 5 | Viscoelastic solution for medium lasting correction of cutaneous contour deficiencies, increase of turgidity and elasticity of the skin Device: IAL-SYSTEM ACP HYAL ACP 1 pre-filled syringe 1.0mL | Atsaukts no 2021.gada 3.decembra |
| CG MEDICAL (Francija) | LNE (NB 0459) | 27895 rev 9 | Polyethylene or latex sterile covers for hospital equipments.Polyethylene sterile covers for members | Atsaukts no 2021.gada 3.decembra |
| LAPE MEDICAL (Francija) | LNE (NB 0459) | 32177 rev 4 | Full cervical cage Device: ASPEN cage.GMDN 38161 | Atsaukts no 2021.gada 26.novembra |
| CAPSULE TECHNOLOGIE SAS (Francija) | LNE (NB 0459) | 30578 rev 3 | Patient monitoring system Device: SmartLinx Vitals Plus REF SL-VP-NIBPAH-MON-HW | Atsaukts no 2021.gada 8.decembra |
| LABORATOIRE UNITHER (Francija) | LNE (NB 0459) | 25485 rev 7 | Sterile hypertonic solution of sodium chloride 3% in vials for nasal cleansing Device: IperNaseFlu Hyperton- A932721475 – 24 unidoses | Atsaukts no 2021.gada 8.decembra |
| LABORATOIRE UNITHER (Francija) | LNE (NB 0459) | 29399 rev 3 | Lubricating and moisturizing sterile solution of carmellose sodium 1% free from preservatives for eyes in unit dose vials | Atsaukts no 2022.gada 7.janvāra |
| VOCALIS HEALTH LTD (Izraēla) | LNE (NB 0459) | 36911 rev 1 | Mobile application, dashboard platform for clinicians and backend software that is intended for detecting shortness of breath in COPD patients | Atsaukts no 2021.gada 17.decembra |
| PEROUSE MEDICAL (Francija) | LNE (NB 0459) | 9946 rev 9 | Vascular grafts | Atsaukts no 2022.gada 11.janvāra |
| ANIKA THERAPEUTCS SRL (Itālija) | LNE (NB 0459) | 10226 rev 13 | Lamina and dressing for surgical repairs in tympanic membrane perforation surgery within myringoplastic and tympanoplastic surgical procedures Device: LASERDRUM® - EPIFILM® - LASERDRUM® DISC - EPIDISC® LASERDRUM™ Perf Kit - EPIDISC™ Perforation Patch Kit Code GMDN 34410 | Atsaukts no 2022.gada 6.janvāra |
| ANIKA THERAPEUTCS SRL (Itālija) | LNE (NB 0459) | 8481 rev 14 | Surgical adjunct for myringoplasty Device: Sinil Quick Gel / Merogel Quick Gel code GMDN 33525 | Atsaukts no 2022.gada 6.janvāra |
| VERFORA SA (Šveice) | LNE (NB 0459) | 9048 rev 11 | Sterile single doses of sea water for nasal rinsing | Atsaukts no 2022.gada 26.janvāra |
| LAPE MEDICAL (Francija) | LNE (NB 0459) | 32315 rev. 5 | Femoral orthopaedic implants Device: Stems OK SC and OK baby SC | Atsaukts no 2022.gada 7.janvāra |
| PHARMAPLAST SAE (Ēģipte) | LNE (NB 0459) | 27236 rev. 20 | Sterile and Non sterile Wound and Burn Dressings Device: Pharmagel Breast Pads | Atsaukts no 2021.gada 29.decembra |
| LUCAS MEDICAL (ASV) | LNE (NB 0459) | 35084 rev 2 | Embolectomy, occlusion, thrombectomy,biliary and irrigation catheters, bi-lumen arterial irrigation catheters | Apturēts no 2022.gada 4.janvāra |
| LCS SA (Francija) | LNE (NB 0459) | 38070 rev 1 | Visco elastic solutions for rheumatology Device: SYNOVIUM SURGICAL | Apturēts no 2022.gada 5.janvāra |
| DIASORIN S.p.A. | LNE (NB 0459) | 9393 rev 4 | Devices for the diagnostic of Hepatitis B based on ELISA (Enzyme Linked lmmuno Sorbent Assay) test method Device: ETl-AB-EBK PLUS - Ref. N0139 (GMDN :48347) | Atsaukts no 2022.gada 31.janvāra |
| DIASORIN S.p.A. | LNE (NB 0459) | 9394 rev 6 | Devices for the diagnostic of Hepatitis B based on ELISA (Enzyme Linked lmmuno Sorbent Assay) test method Device: ETl EBK PLUS • Ref. N0140 (GMDN :48330) | Atsaukts no 2022.gada 31.janvāra |
| DIASORIN S.p.A. | LNE (NB 0459) | 9404 rev 4 | Devices for the diagnostic of Hepatitis B based on ELISA (Enzyme Linked Immuno Sorbent Assay) test method Device: ETI-AB-COREK PLUS - Ref. N0137 (GMDN code : 48303) | Atsaukts no 2022.gada 31.janvāra |
| DIASORIN S.p.A. | LNE (NB 0459) | 22527 rev 2 | Control materials for the diagnosis of Hepatitis B on the LIAISON® and LIAISON® XL Systems Device: LIAISON® Control Anti-HBs Il - Ref. 310221 (GMDN code : 41998) | Atsaukts no 2022.gada 31.janvāra |
| DIASORIN S.p.A. | LNE (NB 0459) | 22528 rev 4 | Device for the diagnosis of Hepatitis B on the LIAISON® and LIAISON® XL Systems Device: LIAISON® Anti-HBs Il Plus - Ref. 310230 (GMDN code : 48316) | Atsaukts no 2022.gada 31.janvāra |
| DIASORIN S.p.A. | LNE (NB 0459) | 22529 rev 4 | Device for the diagnosis of Hepatitis B on the LIAISON® and LIAISON® XL Systems Device: LIAISON® Anti-HBs Il - Ref. 310220 (GMDN code : 48316) | Atsaukts no 2022.gada 31.janvāra |
| DIASORIN S.p.A. | LNE (NB 0459) | 8332 rev 5 | Devices for the diagnostic of hepatitis B based on ELISA (Enzyme Linked lmmuno Sorbent Assay) test method Device: ETl AB AUK-3 - Ref. P001603 (GMDN :48315) ETl-AB-AUK-3 Negative Control - Ref. P001773 (GMDN :48318 | Atsaukts no 2022.gada 31.janvāra |
| DIASORIN S.p.A. | LNE (NB 0459) | 9084 rev 8 | Devices for the diagnosis of Hepatitis B based on ELISA (Enzyme Linked lmmuno Sorbent Assay) test method. Devices for the diagnosis of Hepatitis D based on ELISA (Enzyme Linked Immuno Sorbent Assay) test method Device: ETl-AB-AUK-3 REF P001603 ETl-AB-AUK-3 Negative Control REF P001773 | Atsaukts no 2022.gada 31.janvāra |
| DIASORIN S.p.A. | LNE (NB 0459) | 9098 rev 8 | Devices for the dlagnosis of Hepatitls B based on ELISA (Enzyme Linked lmmuno Sorbent Assay) test method Device: ETl-AB.COREK PLUS REF N0137, ETl-CORE-IGMK PLUS REF N0138, ETl-AB-EBK PLUS REF N0139, ETl-EBK PLUS REF N0140 | Atsaukts no 2022.gada 31.janvāra |
| DIASORIN S.p.A. | LNE (NB 0459) | 9392 rev 4 | Devices for the diagnostic of Hepatitis B based on ELISA (Enzyme Linked lmmuno Sorbent Assay) test method Device: ETl-CORE-lgMK PLUS - Ref. N0138 (GMDN :48297) | Atsaukts no 2022.gada 31.janvāra |
| LAPE MEDICAL | LNE (NB 0459) | 32510 rev 4 | Femoral orthopaedic implants Device: Ceramic femoral head BIOLOX DELTA | Atsaukts no 2022.gada 2.februāra |
| LABORATOIRE ODOST | LNE (NB 0459) | 18149 rev 19 | Isotonic nasal spray - Hypertonic nasal spray - Dental spray - Hypertonic spray for ear cleansing Device: Hypertonic spray for ear cleansing | Atsaukts no 2022.gada 27.janvāra |
| PIERRE FABRE MEDICAL DEVICES | LNE (NB 0459) | 14458 rev 7 | Sterile solution for ocular cleansing, in single dose | Atsaukts no 2022.gada 4.februāra |
| TECSOLPAR, SA | Agencia Española de Medicamentos y Productos Sanitarios (NB 0318) | 2008 05 0543 CP | Non-injectable irrigation solutions Device: Sodium chloride 0,9% irrigation solution, Glycine 1,5% irrigation solution, Sorbitol-Manitol irrigation solution, Distilled water solution for irrigation | Apturēts no 2022.gada 16.marta |
| BIOMET SPAIN ORTHOPAEDICS, S.L. | Agencia Española de Medicamentos y Productos Sanitarios (NB 0318) | 95 04 0002 CT; 2010 09 0746 ED | Device: vitamin E infused ultra high molecular weight polyethylene (UHMWPE E1) with a Ti6Al4V metallic sleeve liner | Atsaukts no 2021.gada 16.decembra |
| IBERHOSPITEX S.A. | Agencia Española de Medicamentos y Productos Sanitarios (NB 0318) | 2004 03 0427 CT; 2014 02 0818 ED; 2014 02 0819 ED | Device: Active Paclitaxel eluting coronary stent premounted onto a rapid exchange dilatation balloon catheter: Ø (mm)/L (mm): 3.0/ 9, 14, 18, 23, 28, 36, 39 3.5/ 9, 14, 18, 23, 28, 36, 39 4.0/ 9, 14, 18, 23, 28, 36 4.5/ 9, 14, 18, 23, 28, 36; Active Small Paclitaxel eluting coronary stent premounted onto a rapid exchange dilatation balloon catheter: Ø (mm)/L (mm): 2.0/ 9, 14, 19, 23, 28, 36 2.25/ 9, 14, 19, 23, 28, 36 2.50/ 9, 14, 19, 23, 28, 36 2.75/ 9, 14, 19, 23, 28, 36 | Atsaukts no 2021.gada 20.decembra |
| IBERHOSPITEX S.A. | Agencia Española de Medicamentos y Productos Sanitarios (NB 0318) | 99 03 0220 CT; 2004 06 0443 ED | Device: Dilatation and perfusion coronary catheterAmicath | Atsaukts no 2021.gada 20.decembra |
| IBERHOSPITEX S.A. | Agencia Española de Medicamentos y Productos Sanitarios (NB 0318) | 98 05 0092 CP | Device: Transparent dressing for cannula fixation. Composition: Polyurethane support, Acrylic adhesive. Dimensions: 7,2x5 cm; Transparent dressing for cannula fixation with securing strips. Composition: Polyurethane support, Acrylic adhesive. Dimensions: 9x7 cm | Atsaukts no 2021.gada 16.decembra |
| GOGOA MOBILITY ROBOTS, S.L. | Agencia Española de Medicamentos y Productos Sanitarios (NB 0318) | 2018 07 0873 CP | Device: Knee rehabilitation exoskeleton BELK | Apturēts no 2022.gada 3.marta |
| Beijing Wantai Biological Pharmacy Enterprise Co., Ltd. | EVPÚ a.s. (NB 1293) | 40002/101/1/ 2019/CE | In Vitro Diagnostic Medical device, AiDTM anti-HIV 1+2 ELISA is an enzyme-linked immunosorbent assay (ELISA) intended for qualitative detection of antibodies to Human Immunodeficiency Viruses (HIV) type 1 (group M - O) or type 2 in human serum or plasma specimens; Device: In Vitro Diagnostic Medical Device Human Immunodeficiency Virus 1+2 Antibody Elisa Kit (3rd generation) Type: AidTM anti-HIV 1+2 ELISA Product codes: WI-4396 / WI-43480 | Atsaukts no 2022.gada 29.marta |
| Beijing Wantai Biological Pharmacy Enterprise Co., Ltd | EVPÚ a.s. (NB 1293) | 40055/101/1/ 2012/CE Rev.3 | In Vitro Diagnostic Medical device, AiDTM HBsAg ELISA is an enzyme-linked immunosorbent assay (ELISA) for qualitative detection of HBsAg in human serum or plasma; Device: In-vitro medical devices – ELISA kit Product type: AiDTM HBsAg ELISA Product code: WB-1296, WB-12480 | Atsaukts no 2022.gada 29.marta |
| Beijing Wantai Biological Pharmacy Enterprise Co., Ltd | EVPÚ a.s. (NB 1293) | 41001/101/1/ 2018/CE | In Vitro Diagnostic Medical device, AiDTM anti-HCV ELISAPlus is an enzyme-linked immunosorbent assay (ELISA) for qualitative detection of antibodies to hepatitis C virus (HCV) in human serum or plasma; Device: Diagnostic Kit for Antibody to Hepatitis C Virus (ELISA) (Sandwich Method) Type: AiDTM anti-HCV ELISA Plus Product code: WC-31S96, WC-31S480 | Atsaukts no 2022.gada 29.marta |
| Beijing Wantai Biological Pharmacy Enterprise Co., Ltd | EVPÚ a.s. (NB 1293) | 41002/101/1/ 2019/CE | In Vitro Diagnostic Medical device, AiDTM anti-HIV 1+2 ELISA is an enzyme-linked immunosorbent assay (ELISA) intended for qualitative detection of antibodies to Human Immunodeficiency Viruses (HIV) type 1 (group M - O) or type 2 in human serum or plasma specimens. Device: In Vitro Diagnostic Medical Device Human Immunodeficiency Virus 1+2 Antibody Elisa Kit (3rd generation) Type: AidTM anti-HIV 1+2 ELISA Product codes: WI-4396 / WI-43480 | Atsaukts no 2022.gada 29.marta |
| Beijing Wantai Biological Pharmacy Enterprise Co., Ltd | EVPÚ a.s. (NB 1293) | 41055/101/1/ 2012/CE Rev.3 | In Vitro Diagnostic Medical device, AiDTM HBsAg ELISA is an enzyme-linked immunosorbent assay (ELISA) for qualitative detection of HBsAg in human serum or plasma. Device: In-vitro medical devices – ELISA kit Product type: AiDTM HBsAg ELISA Product code: WB-1296, WB-12480 | Atsaukts no 2022.gada 29.marta |
| Beijing Wantai Biological Pharmacy Enterprise Co., Ltd | EVPÚ a.s. (NB 1293) | 40001/101/1/ 2018/CE | In Vitro Diagnostic Medical device, AiDTM anti-HCV ELISAPlus is an enzyme-linked immunosorbent assay (ELISA) for qualitative detection of antibodies to hepatitis C virus (HCV) in human serum or plasma. Device: Diagnostic Kit for Antibody to Hepatitis C Virus (ELISA) (Sandwich Method) Type: AiDTM anti-HCV ELISA Plus Product code: WC-31S96, WC-31S480 | Atsaukts no 2022.gada 29.marta |